## Group A combined
CSI Number | Reference number | Description | Quantity | Unit | Crew Code | Material |  | Labour |  | Equipment |  | Total Cost | O & P | Total cost O & P |  |  |  |  | Ducts
[6 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost |  |  | Unit Cost | Total Cost |  |  |  | LF | W | H | LBS
Devision 01
01 11 31.10 |  | Architectural fees | 1 | Project | [7 empty] | 10.45% |  | 10.45% | 0
01 11 31.30 |  | Engineering fees
|  | Educational planning consultant | 1 | Project | [7 empty] | 1.5% |  | 1.5% | 0
|  | Electrical | 1 | Contract | [7 empty] | 7.1% |  | 7.1% | 0
|  | Elevator and conveying systems | 1 | Contract | [7 empty] | 3.75% |  | 3.75% | 0
|  | Food service and kitchen equipment | 1 | Contract | [7 empty] | 10% |  | 10% | 0
|  | Landscaping and site development | 1 | Contract | [7 empty] | 4.25% |  | 4.25% | 0
|  | Mechanical (Plumbing & HVAC) | 1 | Contract | [7 empty] | 7.1% |  | 7.1% | 0
|  | Structural | 1 | Project | [7 empty] | 1.75% |  | 1.75% | 0
01 11 31.75 | 50 | Rendering, 1 building, minimum | 1 | EA |  | 0 | $0.00 | 3600 | $4,284.00 |  | $0.00 | $4,284.00 | $416.50 | $3,950.00 | $4,700.50
01 21 16.50 |  | Contingencies
01 21 16.50 | 20 | Conceptual Stage | 1 | Project | [7 empty] | 20% |  | 20% | 0
01 21 16.50 | 50 | Schematic Stage | 1 | Project | [7 empty] | 15% |  | 15% | 0
01 21 16.50 | 100 | Preliminary Working Drawing Stage (Design Dev.) | 1 | Project | [7 empty] | 10% |  | 10% | 0
01 21 16.50 | 150 | Final Working Drawing Stage | 1 | Project | [7 empty] | 3% |  | 3% | 0
01 21 53.65 |  | Infectious Disease Precautions
01 21 53.65 | 120 | Daily Temperature Checks | [5 empty] | 1% | $0.00 | [5 empty] | $0.00
01 21 53.65 | 130 | Donning & doffing masks and gloves | [5 empty] | 1% | $0.00 | [5 empty] | $0.00
01 21 53.65 | 140 | Washing Hands | [5 empty] | 1% | $0.00 | [5 empty] | $0.00
01 21 53.65 | 150 | Informational meetings | [5 empty] | 2% | $0.00 | [5 empty] | $0.00
01 21 53.65 | 160 | Maintaining Social Distance | [5 empty] | 1% | $0.00 | [5 empty] | $0.00
01 21 53.65 | 170 | Disinfecting tools or equipment | [5 empty] | 3% | $0.00 | [5 empty] | $0.00
01 41 26.50 |  | Permit | 1 | Job | [7 empty] | 1.25% |  | 1.25% | 0
01 54 23.70 |  | Scaffolding
01 54 23.70 | 90 | Building exterior, wall face, 1 to 5 stories, 6' 4" X 5' frames | 55.86 | C.S.F. | 3 Corp | 0 | $0.00 | 176 | $11,699.32 |  | $0.00 |  |  | $262.00 | $17,416.03
01 54 23.70 | 560 | Building interior, wall face area, 16' to 40' high | 55.86 | C.S.F. | 3 Corp | 0 | $0.00 | 141 | $9,372.75 |  | $0.00 |  |  | $209.00 | $13,892.94
01 56 26.50 |  | Temporary Fencing
| 550 | 8' High | 764 | L.F. | 2 Corp | 19.65 | $17,864.99 | 11.7 | $10,637.17 |  | $0.00 |  |  | $39.00 | $35,457.24
Division 2
Demolition
02 41 19.25 |  | Selective Demolition, Saw Cutting, Asphalt upto 3" Depth, each additional inch of depth | 266 | LF | $0.80 | $212.80 | $9.30 | $2,473.80 | $6.90 | $1,835.40 | $4,522.00 |  |  |  | $5,986.70
02 65 10.30 |  | Removal of underground Storage Tank, Disconnect and remove piping | 74 | LF | $0.00 | $0.00 | $4.25 | $314.50 | $0.00 | $0.00 | $314.50 |  |  |  | $470.82
02 41 13.33 |  | Demolition, remove pavement and curb, remove oncrete, plain, 7" to 24" thick, excludes hauling and disposal fees | 155 | CY | $0.00 | $0.00 | $76.70 | $11,888.50 | $48.15 | $7,463.25 | $19,351.75 |  |  |  | $26,005.90
02 41 13 |  | Pipe Removal, Sewer/Water, no excavation, 12" diameter | 74 | LF | $0.00 | $0.00 | $8.36 | $618.64 | $1.85 | $74.00 | $692.64 |  |  |  | $1,078.18
Division 3
Foundation
03 30 53.40 | 3920 | Footings, Strip 3000 psi, reinforced | 66 | CY | $291.50 | $19,239.00 | $213.00 | $14,058.00 | $1.00 | $66.00 | $33,363.00 | C-14C | 15
03 30 53.40 | 4200 | Wall, freestanding {3000psi} 8" thick, 8' high | 55 | CY | $280.82 | $15,445.10 | $302.24 | $16,623.20 | $22.20 | $1,221.00 | $33,289.30 | C-14D | 27
03 21 05.75 | 500 | Foundation rebbars #4 & #5 | 4.47 | TONS | $1,692.18 | $7,564.04 | $1,173.34 | $5,244.83 |  | $ - | $12,808.87 | C-25 | 4
03 11 13.40 | 150 | 4 use for Footing & Wall Footing Formwork | 1143 | SF | $3.10 | $3,543.30 | $15.85 | $18,116.55 | $ - | $ - | $21,659.85 | C-2 | 6
03 11 13.45 | 20 | Continous wall, plywood, 4 use | 6193.4 | SF | $5.54 | $34,311.44 | $4.35 | $26,941.29 | $ - | $ - | $61,252.73 | C-1 | 4
Utilities
03 30 53 .40 |  | Precast Yard Drain | 1 | Ea | $321.88 | $321.88 | $22.30 | $22.30 | 8.77 | 8.77 | $352.95 | C-12
03 30 53 .40 |  | Precast Trench Basin 8' Section | 1 | Ea | $1,055.53 | $1,055.53 | $22.37 | $22.37 | 8.7703 | 8.7703 | $1,086.67 | C-12
03 30 53 .40 |  | Precast Catch Basins 12" | 3 | Ea | $161.84 | $485.52 | $22.31 | $66.94 | 8.7703 | 26.3109 | $578.77 | C-12
33 52 13.16 | 40 | 2" diameter Gasoline piping | 119 | LF | $7.75 | $922.25 | $4.50 | $535.50 | $ - | $ - | $1,457.75 | Q-6 | 3
Concrete
03 30 53.40 |  | Concrete Slab on Grade 8'' 3500psi | 91 | CY | C-14F | $4.89 | $18,044.10 | $1.41 | $5,202.90 | $0.01 | $36.90 | $4,511.76 | $23,283.90 | $410,570.16
03 31 13 |  | Elevated Slabs less than 6'' thick pumped | 1387 | SF | C-20 | $0.00 | $0.00 | $27.37 | $37,962.19 | $7.55 | $10,471.85 | $19,237.69 | $48,434.04 | $67,671.73
03 621 00.1 | 1060 | Non-Shrink Grout | 1 | EA |  | 14.37 | 14.37 | 19.5 | 19.5 |  |  | 33.87
Steel Concrete Reinforcemenet
03 22 11.10 | 700 | 4X4 W4 x W4 WWR | 13.63 | CSF | 2 Rodm | $196.00 | $3,179.06 | $41.50 | $673.12 |  | $0.00 | $3,852.18 | $656.90 | $278.00 | $4,509.08
03 21 11.50 | 2550 | #4 Reinforcement Bar | 3.82 | Ton | - | $75.08 | $341.30 |  | $0.00 |  | $0.00 | $341.30 | $33.73 | $82.50 | $375.03
03 21 11.50 | 2600 | #5 Reinforcement Bar | 2.04 | Ton | - | $37.54 | $91.13 |  | $0.00 |  | $0.00 | $91.13 | $9.01 | $41.25 | $100.14
03 21 11.50 | 2700 | #7 Reinforcement Bar | 1.78 | Ton | - | $44.96 | $95.23 |  | $0.00 |  | $0.00 | $95.23 | $9.62 | $49.50 | $104.85
03 15 19.10 | 330 | Anchor Bolt, 3/4" dia, 30" Long | 78 | EA | 1 Carp | $29.70 | $2,756.75 | $43.99 | $4,083.15 |  | $0.00 | $6,839.91 | $2,243.46 | $97.86 | $9,083.37
03 30 53.40 | 5010 | Slab on Grade, Structural concrete, In place, (3000 psi), 6" thick, includes portland cement type I, Excludes formwork | 3591 | SF | C14G | $2.25 | $9,614.90 | $1.84 | $7,862.85 | $0.01 | $42.73 | $17,520.49 | $4,657.89 | $5.19 | $22,178.38
03 30 53.40 | 3920 | Footings, Strip 3000 psi, 18"W x9"D, reinforced, Grade 60 rebar | 56 | CY | C-14C | $175.42 | $11,689.99 | $294.28 | $19,610.82 | $0.88 | $58.64 | $31,359.45 | $10,835.00 | $633.17 | $42,194.45
03 30 53.40 | 4200 | Wall, freestanding {3000psi} 8" thick, 8' high | 48 | CY | C-14D | $168.98 | $9,652.14 | $417.58 | $23,852.17 | $18.10 | $1,033.87 | $34,538.18 | $12,912.55 | $830.72 | $47,450.73
03 11 13.45 | 20 | Continous wall, plywood, 4 use | 4426.76 | SF | C-1 | $12.54 | $66,058.77 | $8.91 | $46,936.49 |  | $0.00 | $112,995.26 | $29,552.61 | $27.06 | $142,547.87
Division 5
Metals
05 52 13.50 | 2050 | 2 line pipe rail with pickets and attached handrail, steel 1-1/2'' pipe, 1/2'' pickets @ 4'' OC, shop fabricated, straight and level | 115 | LF | E4 | $155.98 | $17,937.70 | $28.26 | $3,249.90 | $1.19 | $136.85 | $216.34 | $21,324.45 | $24,879.10
05 55 13.50 | 3040 | Treads 11''deep x 36'' long (Diamond Steel Plate) | 17 | EA | 2Sswk | $113.95 | $1,937.15 | $38.28 | $650.76 | $0.00 | $0.00 | $183.80 | $152.23 | $3,124.60
05-05239 | 1040 | Anchor Bolts | 2 | EA |  | 14.48 | 28.95 | 6 | 12 |  |  | 41
Metal Fabrication
05 12 23.17 | 1700 | Rod Bracing, Column structural, 3" dia x12'-0" H, Extra strong pipe, incl primer, cap, base plate | 17 | EA | E2 | $159.98 | $3,236.40 | $85.38 | $1,727.24 | $43.56 | $881.22 | $5,844.85 | $1,339.43 | $355.13 | $7,184.28
05 12 23.78 |  | 2'-0" Rake overhang, Rake trim 4"x3", 14ga, 1.4lb/LF | 50 | LF | 2 Sswk | $2.67 | $158.87 | $2.15 | $127.93 |  | $0.00 | $286.79 | $85.09 | $6.25 | $371.88
05 21 19.10 | 600 | Rigid frame, Open web bar joist, K Series, 40-ton job lots, 24K10, 13.1plf, 30' to 50' spans, shop fabricated, incl shop primer, horizontal bridging. | 205 | LF | E7 | $18.57 | $4,530.15 | $4.08 | $995.32 | $1.32 | $322.01 | $5,847.48 | $1,061.18 | $28.32 | $6,908.66
05 21 19.10 | 600 | Load bearing end wall framing, Open web bar joist, K Series, 40-ton job lots, 24K10, 13.1plf, 30' to 50' spans, shop fabricated, incl shop primer, horizontal bridging. | 82 | LF | E7 | $18.57 | $1,812.06 | $4.08 | $398.13 | $1.32 | $128.81 | $2,338.99 | $424.47 | $28.32 | $2,763.47
05 12 23.78 | 245 | EAVE Purlin, 12"x5"x4", 14 ga, 6lb/LF | 188 | LF | - | $8.90 | $1,991.11 |  | $0.00 |  | $0.00 | $1,991.11 | $201.35 | $9.80 | $2,192.46
05 12 23.78 | 145 | Roof Purlins By PEMB Supplier, 12"x3-1/2"x3-1/2", 14ga, 5.3lb/LF | 658 | LF | - | $7.85 | $6,146.71 |  | $0.00 |  | $0.00 | $6,146.71 | $626.42 | $8.65 | $6,773.12
05 12 23.75 | 1100 | W12x16, Shop fab'd for 100 ton, Bolted connections | 184 | LF | E2 | $29.00 | $6,349.84 | $4.07 | $891.17 | $3.06 | $670.02 | $7,911.02 | $1,175.82 | $41.50 | $9,086.84
05 12 23.75 | 600 | W10x12, Shop fab'd for 100 ton, Bolted connections | 88 | LF | E2 | $21.50 | $2,251.48 | $5.95 | $623.08 | $4.48 | $469.15 | $3,343.71 | $0.00 | $31.93 | $3,343.71
05 31 13.5 | 5700 | Reinforcement for Slab on Deck 3" deep, 22ga | 1363 | SF | E-4 | $3.44 | $5,579.58 | $0.65 | $1,054.28 | $0.05 | $81.10 | $6,714.96 | $1,135.38 | $4.84 | $7,850.33
05 21 19.10 | 130 | K series bar joist | 534 | LF | E-7 | $4.71 | $2,993.02 | $4.29 | $2,726.12 | $2.49 | $1,582.30 | $7,301.44 | $1,912.73 | $14.50 | $9,214.17
Slab On Deck | [6 empty] | $0.00 |  | $0.00 |  | $0.00 | $0.00 | $0.00 |  | $0.00
05 31 33 | 6800 | Slab Form, Steel 22ga, 2" deep, Galvanized | 1363 | SF | E4 | $3.52 | $5,709.33 | $0.58 | $940.74 | $0.04 | $64.88 | $6,714.96 | $1,070.50 | $4.80 | $7,785.46
05 31 33 | 7100 | Form Decking; Sheet metal edge closure form, galvanized, 18 ga | 208 | LF | E14 | $5.80 | $1,435.62 | $1.48 | $366.33 | $0.41 | $101.48 | $1,903.43 | $361.38 | $9.15 | $2,264.81
05 55 13 | 5010 | Stair tread, channel grating, 9" deep X 36" Long | 17 | EA | 2 Sswk | $104.00 | $2,103.92 | $21.50 | $434.95 |  | $0.00 | $2,538.87 | $434.95 | $147.00 | $2,973.81
05 12 23.05 | 20 | Canopy Framing, 6"x 8" Members, Shop fabricated | 27 | LF | E-4 | $1.97 | $63.30 | $0.69 | $22.17 | $0.05 | $1.61 | $87.07 | $18.64 | $3.29 | $105.71
05 12 23.17 | 7400 | Columns Structural, W14x120 | 215 | LF | E2 | $217.00 | $55,519.45 | $3.73 | $954.32 | $2.80 | $716.38 | $57,190.15 | $6,260.65 | $248.00 | $63,450.80
05 12 23.17 | 7100 | Columns Structural, W10x112 | 537.5 | LF | E2 | $203.00 | $129,843.88 | $3.73 | $2,385.80 | $2.80 | $1,790.95 | $134,020.63 | $14,372.37 | $232.00 | $148,393.00
05 12 23.77 | 700 | Structural Steel Project, Offices, Hospitals, etc. ton project, to stories, A992 steel, shop Fabricated, incl. shop primer, bolted connecton | 71 | Ton | E-5 | $3,300.00 | $278,817.00 | $500.00 | $42,245.00 | $275.00 | $23,234.75 | $344,296.75 | $52,806.25 | $4,700.00 | $397,103.00
Division 7
Thermal and Moisture Protection
07 21 16.20 | 1320 | Partition Wall Type 1, 3 1/2'' Acoustic Batt Insulation | 1168 | SF | 1 Carp | $1.33 | $1,553.44 | $0.50 | $584.00 | $0.00 | $0.00 | $2.24 | $2,137.44 | $2,616.32
07 21 13.13 | 600 | Board Insulation (Underslab Insulation) | 3690 | SF | 1 Carp | $0.31 | $1,143.90 | $1.20 | $4,428.00 | $0.00 | $0.00 | $2.12 | $5,571.90 | $7,822.80
07 57 13.13 | 300 | Closed cell spray foam insulation 1 " | 33 | SF | G2A | $1.43 | $47.19 | $0.11 | $3.63 | $0.05 | $1.65 | $1.80 | $1.59 | $59.40
07 57 13.13 |  | Closed cell spray foam insulation 2 " | 16 | SF | G2A | $2.84 | $45.44 | $0.12 | $1.92 | $0.05 | $0.80 | $3.39 | $3.01 | $54.24
07 41 13.20 | 715 | Roof Insulated Metal Panel (Flat profile, 1-3/4" standing seams, standard finish, 24ga.) | 4588 | SF | G3 | $6.80 | $31,198.40 | $2.99 | $13,718.12 | $0.00 | $0.00 | $11.97 | $44,916.52 | $54,918.36
07 26 13 |  | Polyethylene vapor barrier 10mil | 3690 | SF | 1Carp | $13.21 | $48,744.90 | $22.01 | $81,216.90 | $0.00 | $0.00 | $47.33 | $129,961.80 | $174,647.70
07 21 13.10 |  | Fiberglass 1.5# / C.F, unfaced, 1" thick, R4.1 | 3690 | SF | 1 Carp | $0.49 | $2,151.64 | $0.55 | $2,415.11 | $0.00 | $0.00 | $526.93 | $4,566.74 | $5,093.67
07-92001 | 640 | Caulk | 2 | EA |  | 11.99 | 11.99 | 4.34 | 8.67 |  |  | 20.66
Division 8
Openings
08 33 23.10 |  | Coiling Service Door 10' x10' | 1 | EA | 2Sswk | $1,076.95 | $1,076.95 | $880.60 | $880.60 | $0.00 | $0.00 | $571.45 | $1,957.55 | $2,529.00
08 43 13.10 |  | Entrance door 3' x 7' opening, clear anodized finish | 3 | EA | 2Sswk | $3,808.00 | $11,424.00 | $176.12 | $528.36 | $0.00 | $0.00 | $1,435.14 | $11,952.36 | $13,387.50
08 13 13.13 |  | Hollow Metal 3'-0'' x 7'-0'' | 5 | EA | 2Carp | $761.60 | $3,808.00 | $65.45 | $327.25 | $0.00 | $0.00 | $535.50 | $4,135.25 | $4,670.75
08 51 13 |  | Aluminum windows incl frame and glazing Stock 3'-1''x3'-2'' | 6 | EA | 2Sswk | $1,309.00 | $7,854.00 | $122.57 | $735.42 | $0.00 | $0.00 | $1,049.58 | $8,589.42 | $9,639.00
DIVISION 09
Finishes
09 29 10.30 | 2050 | Partition Wall Type 1 GWB, 5/8" thick, taped and finished (level 4 finish) | 2550 | SF | 2Carp | $0.35 | $892.50 | $1.84 | $4,692.00 | $0.00 | $0.00 | $3.13 | $5,584.50 | $7,981.50
09 29 10.30 | 2050 | Partition Wall Type 1F GWB, 5/8" thick, taped and finished (level 4 finish) | 1780 | SF | 2Carp | $0.35 | $623.00 | $1.84 | $3,275.20 | $0.00 | $0.00 | $3.13 | $3,898.20 | $5,571.40
09 29 10.30 | 3250 | MRGWB on ceilings, taped and finished (level 4 finsih) , 5/8" thick | 232 | SF | 2Carp | $0.70 | $162.40 | $2.34 | $542.88 | $0.00 | $0.00 | $4.23 | $705.28 | $981.36
09 34 13.10 | 40 | Floor Tiles, non slip 1'' thick 12'' x12'' (ceramic tile waterproof membrane 5/16'' thick) | 409 | SF | D-7 | $2.96 | $1,210.64 | $5.87 | $2,400.83 | $0.00 | $0.00 | $11.84 | $3,611.47 | $4,842.56
09 22 13.10 | 1300 | Metal Studs 3 5/8 @ 16''OC, 10' high, 25 ga. | 1571 | SF | 1Carp | $3.09 | $4,854.39 | $13.20 | $20,737.20 | $0.00 | $0.00 | $23.30 | $25,591.59 | $36,604.30
DIVISION 10
Corner Boards |  |  | 19 | LF |  | $0.37 | $7.03 | $2.85 | $54.15 | $0.00 | $0.00 |  | $61.18 | $0.00
10 28 13.13 | 800 | Grab bar, straight 1-1/2'' dia, 18'' long | 1 | EA | 1Carp | $21.25 | $21.25 | $27.68 | $27.68 | $0.00 | $0.00 | $64.34 | $48.93 | $64.34
10 28 13.13 | 3100 | Mirror with stainless steel frame 36''x24'' | 1 | EA | 1Carp | $80.96 | $80.96 | $44.60 | $44.60 | $0.00 | $0.00 | $154.90 | $125.56 | $154.90
10 28 13.13 | 5600 | Shelf, stainless steel 5''wide, 18ga 24'' long | 1 | EA | 1Carp | $75.90 | $75.90 | $27.68 | $27.68 | $0.00 | $0.00 | $20.77 | $112.51 | $133.28
10 28 13.13 | 6100 | Toilet tissue dispenser, surface mounted single roll | 1 | EA | 1Carp | $16.95 | $16.95 | $22.16 | $22.16 | $0.00 | $0.00 | $51.90 | $39.11 | $51.90
10 28 13.13 | 4100 | Mop Holder strip stainless steel, 5 holders, 48'' long | 1 | EA | 1Carp | $65.78 | $65.78 | $33.28 | $33.28 | $0.00 | $0.00 | $121.92 | $99.06 | $121.92
10 51 13.10 | 110 | 1 tier locker 12''x52''x72'', body-24 ga, door-16ga | 1 | EA | 1Shee | $221.63 | $221.63 | $39.65 | $39.65 | $0.00 | $0.00 | $304.07 | $261.28 | $304.07
10 56 13 |  | Pallett Racks, steel frame 5000lb capacity, 8' long 48''D |  | Sf Shlf | 2Sswk | $14.81 |  | $2.36 |  | $0.00 | $0.00 |  |  | $0.00
DIVISION 11
Shop Eequipment
|  | GRAINGER APPROVED Workbench Top: Butcher Block, 72 in x 30 in | 1 | EA |  | $592.06 | $592.06 | $0.00 | $0.00 | $0.00 | $0.00 |  | $592.06
|  | Global Industrial™ Workbench Top, Maple Butcher Block Square Edge, 72"W x 24"D x 1-3/4" Thick | 1 | EA |  | $291.90 | $291.90 | $0.00 | $0.00 | $0.00 | $0.00 |  | $291.90
|  | CabinetsTennsco® Pedestal W/ 3 Drawers, 15"W x 24"D, Gray | 1 | EA |  | $457.95 | $457.95 | $0.00 | $0.00 | $0.00 | $0.00 |  | $457.95
|  | Bulletin Board pre fab , aluminum frame, 1/4'' cork, 4' x 4' | 1 | EA | 2Carp | $178.11 | $178.11 | $82.84 | $82.84 | $0.00 | $0.00 | $59.28 | $260.95 | $320.23
DIVISON 13
Special Construction
13 34 19.50 | 6760 | PRE-FORMED INSULATED METAL WALL PANEL SYSTEM TYPE 1 (TYP.) (R-30) | 3858 | SF | 2 Carp | $0.70 | $2,700.60 | $0.58 | $2,237.64 | $0.00 | $0.00 | $1.63 | $4,938.24 | $6,288.54
13 34 19.50 | 6760 | PFIM Panel Typ 2 | 1456 | SF | 2 Carp | $0.70 | $1,019.20 | $0.58 | $844.48 | $0.00 | $0.00 | $1.63 | $1,863.68 | $2,373.28
Roof
13 34 19.50 | 900 | Pre Formed Steel Buildings, 50'-100' wide, 16' eave height | 4572 | SF | E2 | $11.89 | $64,689.69 | $8.43 | $45,864.93 | $4.34 | $23,612.55 | $134,167.17 | $32,916.11 | $30.71 | $167,083.28
13 34 19.50 | 6750 | PRE FORMED Insulated wall panel system type 1 | 3858 | SF | 2 Carp | $0.70 | $3,213.71 | $0.58 | $2,662.79 |  | $0.00 | $5,876.51 | $1,606.86 | $1.63 | $7,483.36
13 34 19.50 | 6750 | PRE FORMED Insulated wall panel system type 2 | 1456 | SF | 2 Carp | $0.70 | $1,212.85 | $0.58 | $1,004.93 |  |  | $2,217.78 | $606.42 | $1.63 | $2,824.20
DIVISON 21
Valves
21-21001-1120 |  | Shutoff value WMS | 1 | EA |  | 9.94 | 9.94 | 124.5 | 124.5 |  |  | 134.44
21-21001-1120 |  | Shut Off Value Gas | 1 | EA |  | 9.94 | 9.94 | 124.5 | 124.5 |  |  | 134.44
21-21001-1140 |  | Check Value DWRP | 1 | EA |  | 32.98 | 32.98 | 150 | 150 |  |  | 183
21-21001-1140 |  | Isolation Value DWRP | 1 | EA |  | 53.72 | 53.72 | 124.5 | 124.5 |  |  | 178.22
21-21001-1120 |  | Check Value | 1 | EA |  | 32.98 | 32.98 | 150 | 150 |  |  | 350
21-21001-1120 |  | Isolation Value | 1 | EA |  | 53.72 | 53.72 | 124.5 | 124.5 |  |  | 178.22
Sprinkler
21 13 13 |  | k5.6 UPRIGHT SPRINKLER | 50 | EA |  |  | $26.18 | $1,309.00 | $46.89 | $2,344.30 |  |  | $3,653.30
21 13 13 |  | k11.2 UPRIGHT SPRINKLER | 4 | EA |  |  | $22.97 | $91.87 | $46.89 | $187.54 |  |  | $279.41
21 13 13 |  | k5.6 PENDENT SPRINKLER | 3 | EA |  |  | $26.18 | $78.54 | $46.89 | $140.66 |  |  | $219.20
21 13 13 |  | WEATHERPROOF ELECTRIC ALARM BELL | 1 | EA |  |  | $17.85 | $17.85 | $37.00 | $37.00 |  |  | $54.85
21 13 13 |  | FIRE DEPARTMENT CONNECTION | 1 | EA |  |  | $214.20 | $214.20 | $221.99 | $221.99 |  |  | $436.19
21 11 19 |  | Test Header | 1 | EA |  |  | $478.12 | $478.12 | $82.11 | $82.11 |  |  | $560.23
|  | Head Guard | 2 | EA |  |  | $10.12 | $20.23 |  |  |  |  | $20.23
|  | Auxiliary drain | 1 | EA |  |  | $202.30 | $202.30 |  |  |  |  | $202.30
21 13 26 |  | Aumatic Air Vent | 26 | EA |  |  | $90.44 | $2,351.44 |  |  |  |  | $2,351.44
Water Service Entrance Equipment
21-13001 | 220 | Check Valve 4in | 1 | EA |  |  | $154.70 | $154.70 | $283.22 | $283.22 |  |  | $437.92
21-13001 | 240 | Check Valve 6in | 2 | EA |  |  | $328.44 | $656.88 | $411.74 | $823.48 |  |  | $1,480.36
Fire Protection Pipe
21 12 19 |  | 6 inch FP | 175 | LF |  |  | $18.65 | $3,263.28 | $82.11 | $14,369.25 |  |  | $17,632.53
21 12 19 |  | 2.5 inch FP | 397 | LF |  |  | $6.90 | $2,740.09 | $32.73 | $12,991.83 |  |  | $15,731.92
21 12 19 |  | 4 inch FP | 101 | LF |  |  | $3.33 | $336.53 | $41.06 | $4,146.56 |  |  | $4,483.09
21 12 19 |  | 1.5 inch FP | 68 | LF |  |  | $8.93 | $606.90 | $19.64 | $1,335.18 |  |  | $1,942.08
21 12 19 |  | 1.25 inch FP | 5 | LF |  |  | $5.00 | $24.99 | $16.36 | $81.81 |  |  | $106.80
21 12 19 |  | FM 1.5 inch FP | 38 | LF |  |  | $8.81 | $334.63 | $335.58 | $12,752.04 |  |  | $13,086.67
21 12 19 |  | FM 4 inch FP | 39 | LF |  |  | $3.25 | $126.70 | $126.14 | $4,919.46 |  |  | $5,046.16
21 12 19 |  | FM 6 inch FP | 31 | LF |  |  | $3.57 | $110.67 | $107.10 | $3,320.10 |  |  | $3,430.77
DIVISON 22
Plumbing
22 41 13.13 | 400 | Water Closet, tank type, vitricious china, wall hung, closed coupled, two piece, includes seat, supply pipe with stop | 1 | EA | Q-1 | $505.08 | $505.08 | $340.84 | $340.84 | $0.00 | $0.00 | $1,062.28 | $845.92 | $1,062.28
22 45 13.10 | 6000 | Shower Safety and Multi-nozzle, eye/face wash combination | 1 | EA | Q-1 | $1,098.00 | $1,098.00 | $450.40 | $450.40 | $0.00 | $0.00 | $1,877.32 | $1,548.40 | $1,877.32
22 42 39.30 |  | Sink Single heavy frame | 1 | EA | 1Plum | $2,409.75 | $2,409.75 | $136.85 | $136.85 | $0.00 | $0.00 | $309.40 | $2,546.60 | $2,856.00
22 11 13 .48 |  | Gate Valve 6" | 1 | Ea | $211.82 | $211.82 | $38.32 | $38.32 |  |  | $250.14 | Q-2
Plumbing Domestic
22-11168 | 1040 | 1"Cold Water | 16 | LF |  | 1.17 | 18.72 | 6.2 | 99.12 |  |  | 117.84
22-11168 | 1000 | 1/2" Hot Water Return | 84 | LF |  | 1.31 | 110.74 | 5.16 | 433.44 |  |  | 544.18
22-11168 | 1060 | 1-1/4" Cold Water | 45 | LF |  | 1.18 | 53.1 | 6.89 | 296.06 |  |  | 349.16
22-11168 | 1020 | 2" Hot Water Return | 43 | LF |  | 9 | 387 | 20 | 860 |  |  | 1247
22-11168 | 1020 | 3/4" Cold & Hot | 9 | LF |  | 0.63 | 5.67 | 5.63 | 50.63 |  |  | 437.63
22-11168 | 1020 | 3/4" Hot Water Supply | 104 | LF |  | 0.63 | 65.52 | 5.63 | 585 |  |  | 651
Plumbing Sanitary
22-11168-1080 |  | 1-1/2" Sanitary | 31 | LF |  | 4.59 | 142.29 | 7.74 | 239.94 |  |  | 382.23
22-11168-1120 |  | 2" Sanitary | 111 | LF |  | 7.68 | 852.48 | 8.85 | 97.35 |  |  | 949.83
22-11168-1120 |  | 3" Sanitary | 24 | LF |  | 3.11 | 74.64 | 12.39 | 297.36 |  |  | 372
22-11168-1120 |  | 3" VTR | 6 | LF |  | 3.11 | 18.66 | 12.39 | 74.34 |  |  | 93
|  | 4" sanitary | 98 | LF |  | 17 | 1666 | 22.43 | 2198.14 |  |  | 3864.14
Accessories
22-42009-1540 |  | Toilet | 1 | EA |  | 379 | 379 | 150 | 150 |  |  | 529
22-11230-1020 |  | Pump | 1 | EA |  | 109 | 109 | 150 | 150 | 9 |  | 259
22-42230-3020 |  | Shower Head | 1 | EA |  | 12.48 | 12.48 | 1245 | 1245 |  |  | 1257
22-13168-2150 |  | P-Trap | 1 | EA |  | 10.46 | 10.46 | 82.5 | 82.5 |  |  | 92.96
22-05236-6010 |  | Balancing Value | 2 | EA |  | 100.65 | 201.3 | 56.1 | 112.2 |  |  | 313.5
22-42164-2980 |  | Sink | 1 | EA |  | 135 | 135 | 25 | 25 |  |  | 160
22-42009-1510 |  | Concealed Wall Carrier | 1 | EA |  | 249 | 249 | 150 | 150 |  |  | 399
22-13168-2150 |  | Escutceon | 1 | EA |  | 5.25 | 5.25 | 255 | 255 |  |  | 260
Floor Drains
22-13168-2140 |  | P-Trap | 1 | EA |  | 10.46 | 10.46 | 78 | 78 |  |  | 88
22-13167-1050 |  | Floor Drain | 1 | EA |  | 25.65 | 25.65 | 103.5 | 103.5 |  |  | 129.15
|  | Trap Barrier Seal | 1 | EA |  | 28.77 | 28.77 | 103.5 | 103.5 |  |  | 132.27
Pump
22-05236-6010 |  | Balancing Value | 1 | EA |  | 100.65 | 100.65 | 150 | 150 |  |  | 383.75
Toilet
22-42136-1220 |  | Flush Value | 1 | EA |  | 13.95 | 13.95 | 420 | 420 |  |  | 434
22-42009 |  | Wall Mounted Toilet | 1 | EA |  | 349 | 349 | 125 | 125 |  |  | 474
22-42009-1540 |  | Wall Carrier | 1 | EA |  | 249 | 249 | 150 | 150 |  |  | 399
Domestic Water Heater
22-33001-1030 |  | Domestic Water Heater | 1 | EA |  | 180.82 | 180.82 | 210 | 210 |  |  | 391
22-21136-1000 |  | Expansion Tank | 1 | EA |  | 59.85 | 59.85 | 150 | 150 |  |  | 210
22-05236-9210 |  | Thermostatic mixing valve | 1 | EA |  | 107.86 | 107.86 | 49.5 | 49.5 |  |  | 157.36
22-05236-4010 |  | Ball Type Value | 7 | EA |  | 16.98 | 118.86 | 49.5 | 346.5 |  |  | 465.36
Water Service
22-05236-1040 |  | Gate Valve | 5 | EA |  | 11.98 | 59.9 | 61.88 | 309.38 |  |  | 369.28
22-11191-2020 |  | Backflow Preventer | 1 | EA |  | 195.46 | 195.46 | 124.5 | 124.5 |  |  | 319.96
22-06931-1040 |  | Wall Penetration 4 diameter | 1 | EA |  | 0 | 0 | 44.63 | 44.63 |  |  | 44.63
22-06931-1000 |  | Wall Penetration 2 diameter | 2 | EA |  | 0 | 0 | 29.63 | 59.25 |  |  | 59.25
22 46 20 | 7800 | Fire Alarm Annunciator Panel | 1 | EA | 1 Elec |  | 345 | 410.55 | 299 | 355.81 |  | 766.36 | 215.39 | 825 | 981.75
22 46 20 | 2200 | Fire Alarm Pull Station | 2 | EA | 1 Elec |  | 94.5 | 224.91 | 67.5 | 160.65 |  | 385.56 | 99.96 | 204 | 485.52
22 46 20 | 4600 | Fire Alarm Bell | 5 | EA | 1 Elec |  | 56.5 | 336.175 | 67.5 | 401.625 |  | 737.8 | 232.05 | 163 | 969.85
22 46 20 | 4200 | Fire Alarm Flow Switch | 1 | EA | 1 Elec |  | 227 | 270.13 | 67.5 | 80.325 |  | 350.455 | 66.045 | 350 | 416.5
22 46 20 | 4200 | Fire Alarm Tamper Switch | 1 | EA | 1 Elec |  | 227 | 270.13 | 67.5 | 80.325 |  | 350.455 | 66.045 | 350 | 416.5
22-11191-2020 |  | Backflow Preventor | 4 | EA |  |  | $198.73 | $794.92 | $642.60 | $2,570.40 |  | $3,365.32
Mop Sink
22-42164-3020 |  | Mop Sink | 1 | EA |  | 81 | 81 | 315 | 315 |  |  | 396
22-13168-2150 |  | P Trap | 2 | EA |  | 25.65 | 51.3 | 78 | 156 |  |  | 207
22-13168-2010 |  | Trap Adaptor | 2 | EA |  | 6.52 | 13.04 | 82.5 | 165 |  |  | 178
22-11161-6240 |  | Type L copper pipe | 10 | LF |  | 6.8 | 68 | 4.43 | 44.25 |  |  | 112.25
22-13168-2010 |  | 604 Adaptor | 2 | EA |  | 10 | 20 | 82.5 | 165 |  |  | 185
[14 empty] | 955.50$ | 7,325.48$ |  | 7,325.48$ | 209.30$
22 11 13.74 |  | Combustion intake and exhaust flues (6"dia) | 35 | LF | Q-1 |  | 41.18 | 3006.14 | 46.08$ | 3,363.84$ | 0 | 0 | 6,369.98$ | 212.57$ | 1,629.67$ |  | 1,629.67$ | 162.97$
22 11 13.74 |  | Combustion intake and exhaust flues (8"dia) | 10 | LF | Q-2 |  | 83.45 | 834.5 | 58.26$ | 582.60$ | 0 | 0 | 1,417.10$
DIVISON 23
Ducts and Pipes
23 07 13 |  | 6dia combustion intake | 22 | LF |  | 1.46 | 32 | 4.3 | 4.3 |  |  | 36
23 07 13 |  | 8" dia Duck Pipes | 16 | LF |  | 1.06 | 16.95 | 5 | 5 |  |  | 90.82
23 33 13 |  | 8"*6" Duck Pipe | 28 | LF |  | 33 | 916 | 30 | 30 |  |  | 1766
23 33 13 .13 |  | 20"*20" Duck Pipe | 2 | EA |  | 237 | 474 | 51 | 51 |  |  | 576
23 33 13 .13 |  | 20"*16" Duck Pipe | 11 | LF |  | 286 | 3142 | 48 | 48 |  |  | 3665
23 33 13 .13 |  | 20"*14" Duck Pipe | 17 | LF |  | 286 | 4855 | 45 | 45 |  |  | 5624
23 33 13 .13 |  | 20"*12" Duck Pipe | 18 | LF |  | 286 | 5141 | 43 | 43 |  |  | 5912
23 33 13 .13 |  | 14"*12" Duct Pipe | 17 | LF |  | 162 | 2751 | 31 | 31 |  |  | 3277
23 33 13 .13 |  | 10"*6" Duct Pipe | 14 | LF |  | 129 | 1799 | 44.63 | 44.63 |  |  | 2424
23 33 13 .13 |  | 20"*20" Duct Pipe | 6 | LF |  | 273 | 1635 | 67 | 67 |  |  | 2035
23 33 13 .13 |  | 10"*8" Duct Pipe | 4 | LF |  | 278 | 1114 | 48 | 48 |  |  | 1304
23 33 13.13 |  | Duct 10"x6" (12LF) | 24.99 | lb | Q-10 |  | 0.67 | 16.75 | 12.28 | 307 | 0 | 0 | 323.75 | 48.5625 | 372.3125 |  |  |  | 14.8973 | 10 | 6 | 31.026
23 33 13.13 |  | Ducts 10"x8" (3 LF | 7.03 | lb | Q-10 |  | 0.67 | 4.69 | 12.28 | 85.96 | 0 | 0 | 90.65 | 13.5975 | 104.2475 |  |  |  | 14.8311 | 10 | 8 | 34.7492
23 33 13.13 |  | Ducts 14"x12" (16 LF) | 47.38 | lb | Q-10 |  | 0.67 | 36.18 | 12.28 | 663.12 | 0 | 0 | 699.3 | 104.895 | 804.195 |  |  |  | 16.9731 | 14 | 12 | 57.4425
23 33 13.13 |  | Ducts (Main Air supply) 16"x24" (10 LF) | 57.27 | lb | Q-10 |  | 0.67 | 34.84 | 12.28 | 638.56 | 0 | 0 | 673.4 | 101.01 | 774.41 |  |  |  | 13.5213 | 16 | 24 | 70.4009
23 33 13.13 |  | Ducts 20"x12" (16 LF) | 66.65 | lb | Q-10 |  | 0.67 | 44.89 | 12.28 | 822.76 | 0 | 0 | 867.65 | 130.1475 | 997.7975 |  |  |  | 14.9718 | 20 | 12 | 62.3623
23 33 13.13 |  | Ducts 20"x14" (16 LF) | 66.39 | lb | Q-10 |  | 0.67 | 47.57 | 12.28 | 871.88 | 0 | 0 | 919.45 | 137.9175 | 1057.3675 |  |  |  | 15.9278 | 20 | 14 | 70.4912
23 33 13.13 |  | Ducts 20"x16" (10 LF) | 46.86 | lb | Q-10 |  | 0.67 | 31.49 | 12.28 | 577.16 | 0 | 0 | 608.65 | 91.2975 | 699.9475 |  |  |  | 14.937 | 20 | 16 | 69.9947
23 33 13.13 |  | Ducts 20"x20" (21 LF) | 130.17 | lb | Q-10 |  | 0.67 | 73.03 | 12.28 | 1338.52 | 0 | 0 | 1411.55 | 211.7325 | 1623.2825 |  |  |  | 12.4708 | 20 | 20 | 64.9313
23 33 13.13 |  | Ducts 8X6" (33 LF) | 83.83 | lb | Q-10 |  | 0.67 | 40.2 | 12.28 | 736.8 | 0 | 0 | 777 | 116.55 | 893.55 |  |  |  | 10.6594 | 8 | 6 | 19.425
23-09131-1000 |  | Pressure Gauge | 1 | EA |  | 12.74 | 12.74 | 78 | 78 |  |  | 91
23-09131-1000 |  | Gauge Cock | 1 | EA |  | 12.74 | 1.74 | 78 | 78 |  |  | 80
23-09131-1260 |  | Control Valve | 5 | EA |  | 6.64 | 33.2 | 78 | 390 |  |  | 423
23-09131-1000 |  | Pressure Gauge | 1 | EA |  | 12.74 | 12.74 | 78 | 78 |  |  | 91
Ventilation
23 62 13.10 |  | Air cooled condensing unit | 1 | EA | Q-5 |  | 3510 | 3510 | 3207 | 3207 | 0 | 0 | 6717 | 1007.55 | 7724.55 |  | 7724.55 | 7724.55
23 73 13.10 | 940 | Air Handling Unit -1 | 1 | EA | Q-6 |  | 43343 | 2510.11 | 2978 | 2107.95 | 0 | 0 | 4618.06 |  | 52092.63 |  | 4618.06 | 4618.06
23 37 13.10 |  | Air I/O E1 - 8"x6" | 4 | EA | 1 Shee |  | 220 | 880 | 64.16 | 256.64 | 0 | 0 | 1136.64 | 170.496 | 1307.136 |  | 1307.136 | 326.784 |  | 0
23 37 13.10 |  | Air I/O S1 - 10"x8" | 4 | EA | 1 Shee |  | 223.22 | 892.88 | 68.74 | 274.96 | 0 | 0 | 1167.84 | 175.176 | 1343.016 |  | 1343.016 | 335.754 |  | 0
23 37 13.10 |  | Air In/out (S1) - 18"x8" | 5 | EA | 1 Shee |  | 279.28 | 1396.4 | 93.48 | 467.4 | 0 | 0 | 1863.8 | 279.57 | 2143.37 |  | 2143.37 | 428.674 |  | 0
23 37 23.10 |  | Gravity Ventilator hood (GV-1) | 1 | EA | Q-9 |  | 1791 | 1791 | 231$ | 231$ | 0 | 0 | 2,022$ | 303$ | 2,325$ |  | 2,325$ | 2,325$
Exhaust Units
23 34 23.10 |  | Exhaust Fan-1 | 1 | EA | Q-20 |  | 286.41 | 286.41 | 106.32 | 106.32 | 0 | 0 | 392.73 | 58.9095 | 451.6395 |  | 451.6395 | 451.6395 |  | 0
23 34 23.10 |  | Exhaust Fan - 2 | 1 | EA | Q-20 |  | 286.41 | 286.41 | 106.32 | 106.32 | 0 | 0 | 392.73 | 58.9095 | 451.6395 |  | 451.6395 | 451.6395
23 34 23.10 |  | Exhaust Fan - 3 | 1 | EA | Q-20 |  | 1732.71 | 1732.71 | 469 | 469 | 0 | 0 | 2201.71 | 330.2565 | 2531.9665 |  | 2531.9665 | 2531.9665
23 34 23.10 |  | Exhaust Fan - 4 | 1 | EA | Q-20 |  | 1732.71 | 1732.71 | 469 | 469 | 0 | 0 | 2201.71 | 330.2565 | 2531.9665 |  | 2531.9665 | 2531.9665
23 34 23.10 |  | Exhaust Fan - 5 | 1 | EA | Q-20 |  | 1712.71 | 1712.71 | 469 | 469 | 0 | 0 | 2181.71 | 327.2565 | 2508.9665 |  | 2508.9665 | 2508.9665
23 34 23.10 |  | Exhaust Fan - 6 | 1 | EA | Q-20 |  | 2061.46 | 2061.46 | 469.25 | 469.25 | 0 | 0 | 2530.71 | 379.6065 | 2910.3165 |  | 2910.3165 | 2910.3165
Electric Units
23 83 33.10 |  | Electric unit heater - 1 | 1 | EA | 1 Ele |  | 593.96 | 593.96 | 247.46 | 247.46 | 0 | 0 | 841.42 | 126.213 | 967.633 |  | 967.633 | 967.633 |  | 0
23 83 33.10 |  | Electric unit heater - 2 | 1 | EA | 1 Ele |  | 593.96 | 593.96 | 247.46 | 247.46 | 0 | 0 | 841.42 | 126.213 | 967.633 |  | 967.633 | 967.633 |  | 0
23 83 33.10 |  | Electric unit heater - 3 | 1 | EA | 1 Ela |  | 593.96 | 593.96 | 247.46 | 247.46 | 0 | 0 | 841.42 | 126.213 | 967.633 |  | 967.633 | 967.633 |  | 0
23 83 33.10 | 5600 | Electric Unit Heater | 3 | EA | 1 Elec |  | 405 | 1445.85 | 126 | 449.82 |  |  | 1895.67 | 357 | 631 | 2252.67
23 34 16 | 8520 | Exhaust Fan | 6 | EA | Q-20 |  | 1350 | 9639 | 91.5 | 653.31 |  |  | 10292.31 | 1131.69 | 1600 | 11424
23 83 33.10 |  | EUH Line voltage Thermostat | 3 | EA | 1 Ele |  | 35$ | 104$ | 124$ | 371$ | 0 | 0 | 475$ | 71$ | 546$ |  | 546$ | 182$
23 83 33.10 |  | Electric baseboard -1 | 1 | EA | 1 ele |  | 54.05 | 54.05 | 123.73 | 123.73 | 0 | 0 | 177.78 | 26.667 | 204.447 |  | 204.447 | 204.447
23 83 33.10 |  | Electric baseboard -2 | 1 | EA | 1 ele |  | 41.54 | 41.54 | 123.73 | 123.73 | 0 | 0 | 165.27 | 24.7905 | 190.0605 |  | 190.0605 | 190.0605
23 83 33.10 |  | Electric baseboard -3 | 1 | EA | 1 ele |  | 41.54 | 41.54 | 123.73 | 123.73 | 0 | 0 | 165.27 | 24.7905 | 190.0605 |  | 190.0605 | 190.0605
Sensor
23 09 53.10 | 606 | Carbon Monoxide Detector | 1 | EA | 1Elec |  | 41.5 | 49.385 | 25 | 29.75 |  |  | 79.135 | 20.23 | 83.5 | 99.365
23 09 53.10 | 606 | Nitrogen Monoxide Detector | 1 | EA | 1 Elec |  | 8 | 9.52 | 50.5 | 60.095 |  |  | 69.615 | 29.75 | 83.5 | 99.365
Division 26
Electrical
26-05345 | 1020 | Flexible Connection | 1 | EA |  | 20.57 | 20.57 | 4.34 | 4.34 |  |  | 24.91
26 24 16.20 | 200 | Ground Fault Circuit Interruptor | 35 | EA | 1 Elec |  | 39 | 1624.35 | 50.5 | 2103.325 |  |  | 3727.675 | 1166.2 | 117.5 | 4893.875
26 05 19.90 |  | Rated 600V, NFPA 70 Type THHN stranded#14 | 13.62 | CLF | 1 Elec |  | 13.5 | 218.8053 | 41.5 | 672.6237 |  |  | 891.429 | 348.4677 | 76.5 | 1239.8967
26 24 13 | 300 | Switch Board - 120/208volts | 3 | EA | 2 Elec |  | 4975 | 17760.75 | 1075 | 3837.75 |  |  | 21598.5 | 3659.25 | 7075 | 25257.75
26 05 33 | 100 | Junction Pull Box | 8 | EA | 1 Elec |  | 12.6 | 119.952 | 67.5 | 642.6 |  |  | 762.552 | 322.728 | 114 | 1085.28
26 24 16.30 | 500 | Panel 38 | 8 | EA | 2 Elec |  | 1225 | 11662 | 1125 | 10710 |  |  | 22372 | 6188 | 3000 | 28560
26 05 90.10 | 4500 | Weather Proof in Use Bubble Cover | 4 | EA | 1 Elec |  | 5.25 | 24.99 | 10.05 | 47.838 |  |  | 72.828 | 32.13 | 22.05 | 104.958
26 24 16 |  | Fire Alarm Control Panel | 4 | EA | 2 Elec |  | 390 | 1856.4 | 400 | 1904 |  |  | 3760.4 | 1094.8 | 1020 | 4855.2
26 51 13 | 3020 | 4 inch LED Strip | 15 | EA | 1 Elec |  | 455 | 8121.75 | 94.5 | 1686.825 |  |  | 9808.575 | 1615.425 | 640 | 11424
26 51 13 | 3030 | 8 Inch Led Strip | 6 | EA | 2 Elec |  | 380 | 2713.2 | 122 | 871.08 |  |  | 3584.28 | 664.02 | 595 | 4248.3
26 09 23.10 | 400 | Analog Power Pack 20 AMP | 3 | EA |  |  | 38.5 | 137.445 | 40 | 142.8 |  |  | 280.245 | 82.11 | 101.5 | 362.355
26 09 23.10 | 200 | Dual Technology Vacancy Sensor | 4 | EA | 1 Elec |  | 185 | 880.6 | 62 | 295.12 |  |  | 1175.72 | 228.48 | 295 | 1404.2
26 52 13 | 200 | Exit Sign | 2 | EA | 1 Elec |  | 47.5 | 113.05 | 67.5 | 160.65 |  |  | 273.7 | 88.06 | 152 | 361.76
26 05 90.10 | 2290 | Lower Switch | 2 | EA | 1 STPI |  | 19.45 | 46.291 | 108 | 257.04 |  |  | 303.331 | 133.399 | 183.5 | 436.73
26 09 25 |  | Occupancy Sensor Switch | 2 | EA | 1 Elec |  | 116 | 276.08 | 57.5 | 136.85 |  |  | 412.93 | 94.01 | 213 | 506.94
26 56 23.10 | 1278 | Wall Mount Emergency Board Unit | 8 | EA | 1 Elec |  | 184 | 1751.68 | 101 | 961.52 |  |  | 2713.2 | -2713.2 |  | 0
26 56 23.10 | 1278 | Wall Pack | 7 | EA | 2 Elec |  | 178.19 | 1484.3227 | 240.84 | 2006.1972 |  |  | 3490.5199 | 1112.6381 | 552.6 | 4603.158
26 52 13 | 900 | Wall Mount Emergency Light Fixture | 2 | EA | 1 Elec |  | 237 | 564.06 | 54 | 128.52 |  |  | 692.58 | 1121.218 | 762.1 | 1813.798
26 12 19.10 | 300 | Transformer Pad Mounted-500KvA | 1 | EA | R3 |  | 66304 | 66304 | 6021 | 6021 |  |  | 72325 | 10146.04 | 82471.04 | 82471.04
26 22 13.10 | 4700 | Transformer Dry type 500KvA | 1 | EA | R3 |  | 19580.4 | 19580.4 | 5352 | 6368.88 |  |  | 25949.28 | 9682.3664 | 29942.56 | 35631.6464
Division 28
Safety Electrical Equipments
28 46 20.50 | 5800 | Combination Horn | 3 | EA | 1 Elec |  |  | 0 | 25 | 89.25 |  |  | 89.25 | 44.625 | 37.5 | 133.875
28 46 20.50 | 5600 | Horn Strobe | 3 | EA |  |  | 106.26 | 379.3482 | 144.43 | 515.6151 |  |  | 894.9633 | 287.45 | 11821.42 | 42202.4694
28 46 11.27 | 5400 | Duct Mounted Smoke Detector Supply Side | 1 | EA | 1 Elec |  | 315 | 374.85 | 126 | 149.94 |  |  | 524.79 | 107.1 | 531 | 631.89
Fire Alarm
28-11162-8100 |  | 6in Cap | 1 | EA |  |  | $14.28 | $14.28 | $9.19 | $9.19 |  |  | $23.47
28-31001-4320 |  | Water Flow Switch | 1 | EA |  |  | $81.99 | $81.99 | $192.78 | $192.78 |  |  | $274.77
Division 31
Earth Work
31 23 16.13 | 90 | 4' - 6' Deep 1/2 C.Y. Excavator | 537.7 | CY | $ - | $ - | $5.20 | $2,796.04 | $2.10 | $1,129.17 | $3,925.21 | B-11M | 3
31 23 16.13 | 90 | 4' - 6' Deep 1/2 C.Y. Excavator | 597 | CY | B-11M |  | $0.00 | $4.76 | $3,381.65 | $1.73 | $1,229.04 | $4,610.69 | $1,768.97 | $8.98 | $6,379.66
Division 32
Exterior Improvements
32 11 23.23 | 8000 | Roll Subbase, over 2500 S.F | 3591 | SF | B32A |  | $0.00 | $0.40 | $1,709.32 | $0.46 | $1,965.71 | $3,675.03 | $1,025.59 | $1.10 | $4,700.62
32-84004 | 8620 | Pressure/Temperature Relief Value | 1 | EA |  | 18.67 | 18.67 | 88.5 | 49.5 |  |  | 68.17
Division 33
Utilities
33 31 11.25 | 2000 | 20' Lenghts SDR 35 B&S, 4" diameter | 67 | LF | $4.05 | $271.35 | $4.00 | $268.00 | $ - | $ - | $539.35 | B-20 | 3
33 42 11.60 | 1040 | 12" diameter storm sewer | 168 | LF | $18.00 | $3,024.00 | $14.12 | $2,372.16 | $1.60 | $168.00 | $5,564.16 | B-14 | 7
33 42 11.60 | 1020 | 12" diameter storm sewer | 56 | LF | $15.60 | $873.60 | $12.65 | $708.40 | $1.45 | $81.20 | $1,663.20 | B-14 | 7
33 14 13.15 | 2040 | 6" diameter DIP | 100 | LF | $142.75 | $14,275.00 | $11.32 | $1,132.00 | $1.40 | $140.00 | $15,547.00 | B-21 | 13
33 71 19.17 | 4600 | 2 @ 2" diameter | 152 | LF | $15.00 | $2,280.00 | $5.30 | $805.60 | $ - | $ - | $3,085.60 | 2Elec | 2
33 52 13.16 | 40 | 2" diameter Gasoline piping | 119 | LF | $7.75 | $922.25 | $4.50 | $535.50 | $ - | $ - | $1,457.75 | Q-6 | 3
33-51001 | 5060 | Gas Meter | 1 | EA |  | 17.89 | 17.89 | 255 | 255 |  |  | 273
33-51001 | 5520 | Regulator | 1 | EA |  | 24.98 | 24.98 | 210 | 210 |  |  | 235
33-12331 | 90 | Water meter | 1 | EA |  | 11.98 | 11.98 | 124.5 | 124.5 |  |  | 136.48
33 75 53.13 | 3000 | Heavy Duty Non Infused Disconnect Switch | 2 | EA | 2 Elec |  | 4025 | 9579.5 | 805 | 1915.9 |  |  | 11495.4 | 1892.1 | 5625 | 13387.5
Online Division

## Civil Plans
CSI Number | Reference Number | Description | Quantity | Unit | Material |  | Labour |  | Equipment |  | Total Cost | Crew Name | Crew Size | Notes | Total Cost Plus O and P | $/SF | Percentage of Total Cost
[5 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost
Demolition
02 41 19.25 |  | Selective Demolition, Saw Cutting, Asphalt upto 3" Depth, each additional inch of depth | 266 | LF | $0.80 | $212.80 | $9.30 | $2,473.80 | $6.90 | $1,835.40 | $4,522.00 |  |  |  | $5,986.70
02 65 10.30 |  | Removal of underground Storage Tank, Disconnect and remove piping | 74 | LF | $0.00 | $0.00 | $4.25 | $314.50 | $0.00 | $0.00 | $314.50 |  |  |  | $470.82
02 41 13.33 |  | Demolition, remove pavement and curb, remove oncrete, plain, 7" to 24" thick, excludes hauling and disposal fees | 155 | CY | $0.00 | $0.00 | $76.70 | $11,888.50 | $48.15 | $7,463.25 | $19,351.75 |  |  |  | $26,005.90
02 41 13 |  | Pipe Removal, Sewer/Water, no excavation, 12" diameter | 74 | LF | $0.00 | $0.00 | $8.36 | $618.64 | $1.85 | $74.00 | $692.64 |  |  |  | $1,078.18
$24,880.89
Excavation
31 23 16.13 | 90 | 4' - 6' Deep 1/2 C.Y. Excavator | 537.7 | CY | $ - | $ - | $5.20 | $2,796.04 | $2.10 | $1,129.17 | $3,925.21 | B-11M | 3
Foundation
03 30 53.40 | 3920 | Footings, Strip 3000 psi, reinforced | 66 | CY | $291.50 | $19,239.00 | $213.00 | $14,058.00 | $1.00 | $66.00 | $33,363.00 | C-14C | 15
03 30 53.40 | 4200 | Wall, freestanding {3000psi} 8" thick, 8' high | 55 | CY | $280.82 | $15,445.10 | $302.24 | $16,623.20 | $22.20 | $1,221.00 | $33,289.30 | C-14D | 27
03 21 05.75 | 500 | Foundation rebbars #4 & #5 | 4.47 | TONS | $1,692.18 | $7,564.04 | $1,173.34 | $5,244.83 |  | $ - | $12,808.87 | C-25 | 4
03 11 13.40 | 150 | 4 use for Footing & Wall Footing Formwork | 1143 | SF | $3.10 | $3,543.30 | $15.85 | $18,116.55 | $ - | $ - | $21,659.85 | C-2 | 6
03 11 13.45 | 20 | Continous wall, plywood, 4 use | 6193.4 | SF | $5.54 | $34,311.44 | $4.35 | $26,941.29 | $ - | $ - | $61,252.73 | C-1 | 4
Utilities
03 30 53 .40 |  | Precast Yard Drain | 1 | Ea | $321.88 | $321.88 | $22.30 | $22.30 | 8.77 | 8.77 | $352.95 | C-12
03 30 53 .40 |  | Precast Trench Basin 8' Section | 1 | Ea | $1,055.53 | $1,055.53 | $22.37 | $22.37 | 8.7703 | 8.7703 | $1,086.67 | C-12
03 30 53 .40 |  | Precast Catch Basins 12" | 3 | Ea | $161.84 | $485.52 | $22.31 | $66.94 | 8.7703 | 26.3109 | $578.77 | C-12
22 11 13 .48 |  | Gate Valve 6" | 1 | Ea | $211.82 | $211.82 | $38.32 | $38.32 |  |  | $250.14 | Q-2
33 31 11.25 | 2000 | 20' Lenghts SDR 35 B&S, 4" diameter | 67 | LF | $4.05 | $271.35 | $4.00 | $268.00 | $ - | $ - | $539.35 | B-20 | 3
33 42 11.60 | 1040 | 12" diameter storm sewer | 168 | LF | $18.00 | $3,024.00 | $14.12 | $2,372.16 | $1.60 | $168.00 | $5,564.16 | B-14 | 7
33 42 11.60 | 1020 | 12" diameter storm sewer | 56 | LF | $15.60 | $873.60 | $12.65 | $708.40 | $1.45 | $81.20 | $1,663.20 | B-14 | 7
33 14 13.15 | 2040 | 6" diameter DIP | 100 | LF | $142.75 | $14,275.00 | $11.32 | $1,132.00 | $1.40 | $140.00 | $15,547.00 | B-21 | 13
33 71 19.17 | 4600 | 2 @ 2" diameter | 152 | LF | $15.00 | $2,280.00 | $5.30 | $805.60 | $ - | $ - | $3,085.60 | 2Elec | 2
33 52 13.16 | 40 | 2" diameter Gasoline piping | 119 | LF | $7.75 | $922.25 | $4.50 | $535.50 | $ - | $ - | $1,457.75 | Q-6 | 3
$196,424.55

## Architectural Plans
CSI Number | Reference Number | Description | Qty | UNIT | Crew | Material |  | Labor |  | Equipment |  | Total O & P | Total Cost | Total O&P
[6 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost
DIVISION 03
03 30 53.40 |  | Concrete Slab on Grade 8'' 3500psi | 91 | CY | C-14F | $4.89 | $18,044.10 | $1.41 | $5,202.90 | $0.01 | $36.90 | $4,511.76 | $23,283.90 | $410,570.16
03 31 13 |  | Elevated Slabs less than 6'' thick pumped | 1387 | SF | C-20 | $0.00 | $0.00 | $27.37 | $37,962.19 | $7.55 | $10,471.85 | $19,237.69 | $48,434.04 | $67,671.73
DIVISON 05 |  | METALS
05 52 13.50 | 2050 | 2 line pipe rail with pickets and attached handrail, steel 1-1/2'' pipe, 1/2'' pickets @ 4'' OC, shop fabricated, straight and level | 115 | LF | E4 | $155.98 | $17,937.70 | $28.26 | $3,249.90 | $1.19 | $136.85 | $216.34 | $21,324.45 | $24,879.10
05 55 13.50 | 3040 | Treads 11''deep x 36'' long (Diamond Steel Plate) | 17 | EA | 2Sswk | $113.95 | $1,937.15 | $38.28 | $650.76 | $0.00 | $0.00 | $183.80 | $152.23 | $3,124.60
DIVISION 07 |  | Thermal and Moisture Protection
07 21 16.20 | 1320 | Partition Wall Type 1, 3 1/2'' Acoustic Batt Insulation | 1168 | SF | 1 Carp | $1.33 | $1,553.44 | $0.50 | $584.00 | $0.00 | $0.00 | $2.24 | $2,137.44 | $2,616.32
07 21 13.13 | 600 | Board Insulation (Underslab Insulation) | 3690 | SF | 1 Carp | $0.31 | $1,143.90 | $1.20 | $4,428.00 | $0.00 | $0.00 | $2.12 | $5,571.90 | $7,822.80
07 57 13.13 | 300 | Closed cell spray foam insulation 1 " | 33 | SF | G2A | $1.43 | $47.19 | $0.11 | $3.63 | $0.05 | $1.65 | $1.80 | $1.59 | $59.40
07 57 13.13 |  | Closed cell spray foam insulation 2 " | 16 | SF | G2A | $2.84 | $45.44 | $0.12 | $1.92 | $0.05 | $0.80 | $3.39 | $3.01 | $54.24
07 41 13.20 | 715 | Roof Insulated Metal Panel (Flat profile, 1-3/4" standing seams, standard finish, 24ga.) | 4588 | SF | G3 | $6.80 | $31,198.40 | $2.99 | $13,718.12 | $0.00 | $0.00 | $11.97 | $44,916.52 | $54,918.36
07 26 13 |  | Polyethylene vapor barrier 10mil | 3690 | SF | 1Carp | $13.21 | $48,744.90 | $22.01 | $81,216.90 | $0.00 | $0.00 | $47.33 | $129,961.80 | $174,647.70
07 21 13.10 |  | Fiberglass 1.5# / C.F, unfaced, 1" thick, R4.1 | 3690 | SF | 1 Carp | $0.49 | $2,151.64 | $0.55 | $2,415.11 | $0.00 | $0.00 | $526.93 | $4,566.74 | $5,093.67
DIVISION 08 |  | OPENINGS
08 33 23.10 |  | Coiling Service Door 10' x10' | 1 | EA | 2Sswk | $1,076.95 | $1,076.95 | $880.60 | $880.60 | $0.00 | $0.00 | $571.45 | $1,957.55 | $2,529.00
08 43 13.10 |  | Entrance door 3' x 7' opening, clear anodized finish | 3 | EA | 2Sswk | $3,808.00 | $11,424.00 | $176.12 | $528.36 | $0.00 | $0.00 | $1,435.14 | $11,952.36 | $13,387.50
08 13 13.13 |  | Hollow Metal 3'-0'' x 7'-0'' | 5 | EA | 2Carp | $761.60 | $3,808.00 | $65.45 | $327.25 | $0.00 | $0.00 | $535.50 | $4,135.25 | $4,670.75
08 51 13 |  | Aluminum windows incl frame and glazing Stock 3'-1''x3'-2'' | 6 | EA | 2Sswk | $1,309.00 | $7,854.00 | $122.57 | $735.42 | $0.00 | $0.00 | $1,049.58 | $8,589.42 | $9,639.00
DIVISION 09 |  | FINISHES
09 29 10.30 | 2050 | Partition Wall Type 1 GWB, 5/8" thick, taped and finished (level 4 finish) | 2550 | SF | 2Carp | $0.35 | $892.50 | $1.84 | $4,692.00 | $0.00 | $0.00 | $3.13 | $5,584.50 | $7,981.50
09 29 10.30 | 2050 | Partition Wall Type 1F GWB, 5/8" thick, taped and finished (level 4 finish) | 1780 | SF | 2Carp | $0.35 | $623.00 | $1.84 | $3,275.20 | $0.00 | $0.00 | $3.13 | $3,898.20 | $5,571.40
09 29 10.30 | 3250 | MRGWB on ceilings, taped and finished (level 4 finsih) , 5/8" thick | 232 | SF | 2Carp | $0.70 | $162.40 | $2.34 | $542.88 | $0.00 | $0.00 | $4.23 | $705.28 | $981.36
09 34 13.10 | 40 | Floor Tiles, non slip 1'' thick 12'' x12'' (ceramic tile waterproof membrane 5/16'' thick) | 409 | SF | D-7 | $2.96 | $1,210.64 | $5.87 | $2,400.83 | $0.00 | $0.00 | $11.84 | $3,611.47 | $4,842.56
09 22 13.10 | 1300 | Metal Studs 3 5/8 @ 16''OC, 10' high, 25 ga. | 1571 | SF | 1Carp | $3.09 | $4,854.39 | $13.20 | $20,737.20 | $0.00 | $0.00 | $23.30 | $25,591.59 | $36,604.30
DIVISION 10 |  | SPECIALITIES
|  | Corner Boards | 19 | LF |  | $0.37 | $7.03 | $2.85 | $54.15 | $0.00 | $0.00 |  | $61.18 | $0.00
10 28 13.13 | 800 | Grab bar, straight 1-1/2'' dia, 18'' long | 1 | EA | 1Carp | $21.25 | $21.25 | $27.68 | $27.68 | $0.00 | $0.00 | $64.34 | $48.93 | $64.34
10 28 13.13 | 3100 | Mirror with stainless steel frame 36''x24'' | 1 | EA | 1Carp | $80.96 | $80.96 | $44.60 | $44.60 | $0.00 | $0.00 | $154.90 | $125.56 | $154.90
10 28 13.13 | 5600 | Shelf, stainless steel 5''wide, 18ga 24'' long | 1 | EA | 1Carp | $75.90 | $75.90 | $27.68 | $27.68 | $0.00 | $0.00 | $20.77 | $112.51 | $133.28
10 28 13.13 | 6100 | Toilet tissue dispenser, surface mounted single roll | 1 | EA | 1Carp | $16.95 | $16.95 | $22.16 | $22.16 | $0.00 | $0.00 | $51.90 | $39.11 | $51.90
10 28 13.13 | 4100 | Mop Holder strip stainless steel, 5 holders, 48'' long | 1 | EA | 1Carp | $65.78 | $65.78 | $33.28 | $33.28 | $0.00 | $0.00 | $121.92 | $99.06 | $121.92
10 51 13.10 | 110 | 1 tier locker 12''x52''x72'', body-24 ga, door-16ga | 1 | EA | 1Shee | $221.63 | $221.63 | $39.65 | $39.65 | $0.00 | $0.00 | $304.07 | $261.28 | $304.07
10 56 13 |  | Pallett Racks, steel frame 5000lb capacity, 8' long 48''D |  | Sf Shlf | 2Sswk | $14.81 |  | $2.36 |  | $0.00 | $0.00 |  |  | $0.00
DIVISON 11 |  | SHOP EQUIPMENT
|  | GRAINGER APPROVED Workbench Top: Butcher Block, 72 in x 30 in | 1 | EA |  | $592.06 | $592.06 | $0.00 | $0.00 | $0.00 | $0.00 |  | $592.06
|  | Global Industrial™ Workbench Top, Maple Butcher Block Square Edge, 72"W x 24"D x 1-3/4" Thick | 1 | EA |  | $291.90 | $291.90 | $0.00 | $0.00 | $0.00 | $0.00 |  | $291.90
|  | CabinetsTennsco® Pedestal W/ 3 Drawers, 15"W x 24"D, Gray | 1 | EA |  | $457.95 | $457.95 | $0.00 | $0.00 | $0.00 | $0.00 |  | $457.95
|  | Bulletin Board pre fab , aluminum frame, 1/4'' cork, 4' x 4' | 1 | EA | 2Carp | $178.11 | $178.11 | $82.84 | $82.84 | $0.00 | $0.00 | $59.28 | $260.95 | $320.23
DIVISON 13 |  | SPECIAL CONSTRUCTION
13 34 19.50 | 6760 | PRE-FORMED INSULATED METAL WALL PANEL SYSTEM TYPE 1 (TYP.) (R-30) | 3858 | SF | 2 Carp | $0.70 | $2,700.60 | $0.58 | $2,237.64 | $0.00 | $0.00 | $1.63 | $4,938.24 | $6,288.54
13 34 19.50 | 6760 | PFIM Panel Typ 2 | 1456 | SF | 2 Carp | $0.70 | $1,019.20 | $0.58 | $844.48 | $0.00 | $0.00 | $1.63 | $1,863.68 | $2,373.28
06 65 10.10 | 610 | Soffit 1'' x 4'' |  | LF | 2Carp | $1.81 | $0.00 | $4.18 | $0.00 | $0.00 | $0.00 | $8.21 | $0.00 | $0.00
06 65 10.10 | 220 | Fascia 1'' x 6'' |  | LF | 1Carp | $1.81 | $0.00 | $3.52 | $0.00 | $0.00 | $0.00 | $7.22 | $0.00 | $0.00
06 6510.10 | 510 | Rake Trim 1'' x 4'' | 31 | LF | 1Carp | $1.81 | $56.11 | $3.90 | $120.90 | $0.00 | $0.00 | $7.80 | $177.01 | $241.80
DIVISON 22 |  | PLUMBING
22 41 13.13 | 400 | Water Closet, tank type, vitricious china, wall hung, closed coupled, two piece, includes seat, supply pipe with stop | 1 | EA | Q-1 | $505.08 | $505.08 | $340.84 | $340.84 | $0.00 | $0.00 | $1,062.28 | $845.92 | $1,062.28
22 45 13.10 | 6000 | Shower Safety and Multi-nozzle, eye/face wash combination | 1 | EA | Q-1 | $1,098.00 | $1,098.00 | $450.40 | $450.40 | $0.00 | $0.00 | $1,877.32 | $1,548.40 | $1,877.32
22 42 39.30 |  | Sink Single heavy frame | 1 | EA | 1Plum | $2,409.75 | $2,409.75 | $136.85 | $136.85 | $0.00 | $0.00 | $309.40 | $2,546.60 | $2,856.00
[13 empty] | Total Architectural | $853,515.31

## Structural Plans
Reference number | CSI Number | Description | Quantity | Unit | Crew Code | Material |  | Labour |  | Equipment |  | Total Cost | O & P | Total cost O & P
[6 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost |  |  | Unit Cost | Total Cost
Devision 05
1700 | 05 12 23.17 | Rod Bracing, Column structural, 3" dia x12'-0" H, Extra strong pipe, incl primer, cap, base plate | 17 | EA | E2 | $159.98 | $3,236.40 | $85.38 | $1,727.24 | $43.56 | $881.22 | $5,844.85 | $1,339.43 | $355.13 | $7,184.28
| 05 12 23.78 | 2'-0" Rake overhang, Rake trim 4"x3", 14ga, 1.4lb/LF | 50 | LF | 2 Sswk | $2.67 | $158.87 | $2.15 | $127.93 |  | $0.00 | $286.79 | $85.09 | $6.25 | $371.88
600 | 05 21 19.10 | Rigid frame, Open web bar joist, K Series, 40-ton job lots, 24K10, 13.1plf, 30' to 50' spans, shop fabricated, incl shop primer, horizontal bridging. | 205 | LF | E7 | $18.57 | $4,530.15 | $4.08 | $995.32 | $1.32 | $322.01 | $5,847.48 | $1,061.18 | $28.32 | $6,908.66
600 | 05 21 19.10 | Load bearing end wall framing, Open web bar joist, K Series, 40-ton job lots, 24K10, 13.1plf, 30' to 50' spans, shop fabricated, incl shop primer, horizontal bridging. | 82 | LF | E7 | $18.57 | $1,812.06 | $4.08 | $398.13 | $1.32 | $128.81 | $2,338.99 | $424.47 | $28.32 | $2,763.47
245 | 05 12 23.78 | EAVE Purlin, 12"x5"x4", 14 ga, 6lb/LF | 188 | LF | - | $8.90 | $1,991.11 |  | $0.00 |  | $0.00 | $1,991.11 | $201.35 | $9.80 | $2,192.46
145 | 05 12 23.78 | Roof Purlins By PEMB Supplier, 12"x3-1/2"x3-1/2", 14ga, 5.3lb/LF | 658 | LF | - | $7.85 | $6,146.71 |  | $0.00 |  | $0.00 | $6,146.71 | $626.42 | $8.65 | $6,773.12
1100 | 05 12 23.75 | W12x16, Shop fab'd for 100 ton, Bolted connections | 184 | LF | E2 | $29.00 | $6,349.84 | $4.07 | $891.17 | $3.06 | $670.02 | $7,911.02 | $1,175.82 | $41.50 | $9,086.84
600 | 05 12 23.75 | W10x12, Shop fab'd for 100 ton, Bolted connections | 88 | LF | E2 | $21.50 | $2,251.48 | $5.95 | $623.08 | $4.48 | $469.15 | $3,343.71 | $0.00 | $31.93 | $3,343.71
5700 | 05 31 13.5 | Reinforcement for Slab on Deck 3" deep, 22ga | 1363 | SF | E-4 | $3.44 | $5,579.58 | $0.65 | $1,054.28 | $0.05 | $81.10 | $6,714.96 | $1,135.38 | $4.84 | $7,850.33
130 | 05 21 19.10 | K series bar joist | 534 | LF | E-7 | $4.71 | $2,993.02 | $4.29 | $2,726.12 | $2.49 | $1,582.30 | $7,301.44 | $1,912.73 | $14.50 | $9,214.17
|  | Slab on Deck |  |  |  |  | $0.00 |  | $0.00 |  | $0.00 | $0.00 | $0.00 |  | $0.00
6800 | 05 31 33 | Slab Form, Steel 22ga, 2" deep, Galvanized | 1363 | SF | E4 | $3.52 | $5,709.33 | $0.58 | $940.74 | $0.04 | $64.88 | $6,714.96 | $1,070.50 | $4.80 | $7,785.46
7100 | 05 31 33 | Form Decking; Sheet metal edge closure form, galvanized, 18 ga | 208 | LF | E14 | $5.80 | $1,435.62 | $1.48 | $366.33 | $0.41 | $101.48 | $1,903.43 | $361.38 | $9.15 | $2,264.81
5010 | 05 55 13 | Stair tread, channel grating, 9" deep X 36" Long | 17 | EA | 2 Sswk | $104.00 | $2,103.92 | $21.50 | $434.95 |  | $0.00 | $2,538.87 | $434.95 | $147.00 | $2,973.81
20 | 05 12 23.05 | Canopy Framing, 6"x 8" Members, Shop fabricated | 27 | LF | E-4 | $1.97 | $63.30 | $0.69 | $22.17 | $0.05 | $1.61 | $87.07 | $18.64 | $3.29 | $105.71
7400 | 05 12 23.17 | Columns Structural, W14x120 | 215 | LF | E2 | $217.00 | $55,519.45 | $3.73 | $954.32 | $2.80 | $716.38 | $57,190.15 | $6,260.65 | $248.00 | $63,450.80
7100 | 05 12 23.17 | Columns Structural, W10x112 | 537.5 | LF | E2 | $203.00 | $129,843.88 | $3.73 | $2,385.80 | $2.80 | $1,790.95 | $134,020.63 | $14,372.37 | $232.00 | $148,393.00
700 | 05 12 23.77 | Structural Steel Project, Offices, Hospitals, etc. ton project, to stories, A992 steel, shop Fabricated, incl. shop primer, bolted connecton | 71 | Ton | E-5 | $3,300.00 | $278,817.00 | $500.00 | $42,245.00 | $275.00 | $23,234.75 | $344,296.75 | $52,806.25 | $4,700.00 | $397,103.00
| Division 03 | [5 empty] | $0.00 |  | $0.00 |  | $0.00
700 | 03 22 11.10 | 4X4 W4 x W4 WWR | 13.63 | CSF | 2 Rodm | $196.00 | $3,179.06 | $41.50 | $673.12 |  | $0.00 | $3,852.18 | $656.90 | $278.00 | $4,509.08
2550 | 03 21 11.50 | #4 Reinforcement Bar | 3.82 | Ton | - | $75.08 | $341.30 |  | $0.00 |  | $0.00 | $341.30 | $33.73 | $82.50 | $375.03
2600 | 03 21 11.50 | #5 Reinforcement Bar | 2.04 | Ton | - | $37.54 | $91.13 |  | $0.00 |  | $0.00 | $91.13 | $9.01 | $41.25 | $100.14
2700 | 03 21 11.50 | #7 Reinforcement Bar | 1.78 | Ton | - | $44.96 | $95.23 |  | $0.00 |  | $0.00 | $95.23 | $9.62 | $49.50 | $104.85
330 | 03 15 19.10 | Anchor Bolt, 3/4" dia, 30" Long | 78 | EA | 1 Carp | $29.70 | $2,756.75 | $43.99 | $4,083.15 |  | $0.00 | $6,839.91 | $2,243.46 | $97.86 | $9,083.37
5010 | 03 30 53.40 | Slab on Grade, Structural concrete, In place, (3000 psi), 6" thick, includes portland cement type I, Excludes formwork | 3591 | SF | C14G | $2.25 | $9,614.90 | $1.84 | $7,862.85 | $0.01 | $42.73 | $17,520.49 | $4,657.89 | $5.19 | $22,178.38
3920 | 03 30 53.40 | Footings, Strip 3000 psi, 18"W x9"D, reinforced, Grade 60 rebar | 56 | CY | C-14C | $175.42 | $11,689.99 | $294.28 | $19,610.82 | $0.88 | $58.64 | $31,359.45 | $10,835.00 | $633.17 | $42,194.45
4200 | 03 30 53.40 | Wall, freestanding {3000psi} 8" thick, 8' high | 48 | CY | C-14D | $168.98 | $9,652.14 | $417.58 | $23,852.17 | $18.10 | $1,033.87 | $34,538.18 | $12,912.55 | $830.72 | $47,450.73
20 | 03 11 13.45 | Continous wall, plywood, 4 use | 4426.76 | SF | C-1 | $12.54 | $66,058.77 | $8.91 | $46,936.49 |  | $0.00 | $112,995.26 | $29,552.61 | $27.06 | $142,547.87
Roof | Division | [5 empty] | $0.00 |  | $0.00 |  | $0.00
900 | 13 34 19.50 | Pre Formed Steel Buildings, 50'-100' wide, 16' eave height | 4572 | SF | E2 | $11.89 | $64,689.69 | $8.43 | $45,864.93 | $4.34 | $23,612.55 | $134,167.17 | $32,916.11 | $30.71 | $167,083.28
6750 | 13 34 19.50 | PRE FORMED Insulated wall panel system type 1 | 3858 | SF | 2 Carp | $0.70 | $3,213.71 | $0.58 | $2,662.79 |  | $0.00 | $5,876.51 | $1,606.86 | $1.63 | $7,483.36
6750 | 13 34 19.50 | PRE FORMED Insulated wall panel system type 2 | 1456 | SF | 2 Carp | $0.70 | $1,212.85 | $0.58 | $1,004.93 |  |  | $2,217.78 | $606.42 | $1.63 | $2,824.20
[7 empty] | $0.00 |  | $0.00 | [5 empty] | $0.00
90 | 31 23 16.13 | 4' - 6' Deep 1/2 C.Y. Excavator | 597 | CY | B-11M |  | $0.00 | $4.76 | $3,381.65 | $1.73 | $1,229.04 | $4,610.69 | $1,768.97 | $8.98 | $6,379.66
8000 | 32 11 23.23 | Roll Subbase, over 2500 S.F | 3591 | SF | B32A |  | $0.00 | $0.40 | $1,709.32 | $0.46 | $1,965.71 | $3,675.03 | $1,025.59 | $1.10 | $4,700.62
[7 empty] | $0.00 |  | $0.00 |  | $0.00 | $0.00 | $0.00 |  | $0.00
|  | Dowels |  |  |  |  | $0.00 |  | $0.00 |  | $0.00 | $0.00 | $0.00 |  | $0.00
wind post
suspended load
[14 empty] | Total Structure | $1,134,780.51

## Plumbing Plans
Reference number | CSI Number | Description | Quantity | Unit | Crew Code | Material |  | Labour |  | Equipment |  | Total Cost | O & P | Total cost O & P
[6 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost |  |  | Unit Cost | Total Cost
PLUMBING DOMESTIC
| 22-11168-1040 | 1"Cold Water | 16 | LF |  | 1.17 | 18.72 | 6.2 | 99.12 |  |  | 117.84
| 22-11168-1000 | 1/2" Hot Water Return | 84 | LF |  | 1.31 | 110.74 | 5.16 | 433.44 |  |  | 544.18
| 22-11168-1060 | 1-1/4" Cold Water | 45 | LF |  | 1.18 | 53.1 | 6.89 | 296.06 |  |  | 349.16
| 22-11168-1020 | 2" Hot Water Return | 43 | LF |  | 9 | 387 | 20 | 860 |  |  | 1247
| 22-11168-1020 | 3/4" Cold & Hot | 9 | LF |  | 0.63 | 5.67 | 5.63 | 50.63 |  |  | 437.63
| 22-11168-1020 | 3/4" Hot Water Supply | 104 | LF |  | 0.63 | 65.52 | 5.63 | 585 |  |  | 651
PLUMBING SANITARY
| 22-11168-1080 | 1-1/2" Sanitary | 31 | LF |  | 4.59 | 142.29 | 7.74 | 239.94 |  |  | 382.23
| 22-11168-1120 | 2" Sanitary | 111 | LF |  | 7.68 | 852.48 | 8.85 | 97.35 |  |  | 949.83
| 22-11168-1120 | 3" Sanitary | 24 | LF |  | 3.11 | 74.64 | 12.39 | 297.36 |  |  | 372
| 22-11168-1120 | 3" VTR | 6 | LF |  | 3.11 | 18.66 | 12.39 | 74.34 |  |  | 93
|  | 4" sanitary | 98 | LF |  | 17 | 1666 | 22.43 | 2198.14 |  |  | 3864.14
Accessories
| 22-42009-1540 | Toilet | 1 | EA |  | 379 | 379 | 150 | 150 |  |  | 529
| 22-11230-1020 | Pump | 1 | EA |  | 109 | 109 | 150 | 150 | 9 |  | 259
| Online | Wall Hung Sink | 2 | EA |  | 97.28 | 194.56 | 315 | 630 |  |  | 825
| 22-42230-3020 | Shower Head | 1 | EA |  | 12.48 | 12.48 | 1245 | 1245 |  |  | 1257
Wall Mounted Sink
| 07-92001-0640 | Caulk | 2 | EA |  | 11.99 | 11.99 | 4.34 | 8.67 |  |  | 20.66
| 26-05345-1020 | Flexible Connection | 1 | EA |  | 20.57 | 20.57 | 4.34 | 4.34 |  |  | 24.91
| 22-13168-2150 | P-Trap | 1 | EA |  | 10.46 | 10.46 | 82.5 | 82.5 |  |  | 92.96
| Online | Tail Piece | 1 | EA |  | 3.54 | 3.54 | 4.34 | 4.34 |  |  | 7.88
| 22-42164-2980 | Sink | 1 | EA |  | 135 | 135 | 25 | 25 |  |  | 160
| 22-42009-1510 | Concealed Wall Carrier | 1 | EA |  | 249 | 249 | 150 | 150 |  |  | 399
| 22-13168-2150 | Escutceon | 1 | EA |  | 5.25 | 5.25 | 255 | 255 |  |  | 260
| 21-21001-1120 | Shutoff value | 1 | EA |  | 9.94 | 9.94 | 124.5 | 124.5 |  |  | 134.44
Gas service
| 33-51001-5060 | Gas Meter | 1 | EA |  | 17.89 | 17.89 | 255 | 255 |  |  | 273
| 33-51001-5520 | Regulator | 1 | EA |  | 24.98 | 24.98 | 210 | 210 |  |  | 235
| 21-21001-1120 | Shut Off Value | 1 | EA |  | 9.94 | 9.94 | 124.5 | 124.5 |  |  | 134.44
Domestic Water Recric Pump
| 21-21001-1140 | Check Value | 1 | EA |  | 32.98 | 32.98 | 150 | 150 |  |  | 183
| 22-05236-6010 | Balancing Value | 2 | EA |  | 100.65 | 201.3 | 56.1 | 112.2 |  |  | 313.5
| Online | Concentric Increaser | 1 | EA |  | 43.19 | 43.19 | 75 | 75 |  |  | 118
| Online | Pressure/Temperature Test Port | 1 | EA |  | 12.74 | 12.74 | 52.5 | 52.5 |  |  | 65.24
| Online | Concentric Reducer | 1 | EA |  | 4.28 | 4.28 | 21 | 21 |  |  | 25
| 21-21001-1140 | Isolation Value | 1 | EA |  | 53.72 | 53.72 | 124.5 | 124.5 |  |  | 178.22
Floor Draina
| 03-61001-1060 | Non-Shrink Grout | 1 | EA |  | 14.37 | 14.37 | 19.5 | 19.5 |  |  | 33.87
| 22-13168-2140 | P-Trap | 1 | EA |  | 10.46 | 10.46 | 78 | 78 |  |  | 88
| 22-13167-1050 | Floor Drain | 1 | EA |  | 25.65 | 25.65 | 103.5 | 103.5 |  |  | 129.15
|  | Trap Barrier Seal | 1 | EA |  | 28.77 | 28.77 | 103.5 | 103.5 |  |  | 132.27
Pump
| 22-05236-6010 | Balancing Value | 1 | EA |  | 100.65 | 100.65 | 150 | 150 |  |  | 383.75
| 21-21001-1120 | Check Value | 1 | EA |  | 32.98 | 32.98 | 150 | 150 |  |  | 350
| Online | Concentric Increaser | 1 | EA |  | 43.19 | 43.19 | 75 | 75 |  |  | 261.42
| Online | Pressure/Temperature Test Port | 1 | EA |  | 12.74 | 12.74 | 52.5 | 52.5 |  |  | 516.02
| Online | Concentric Reducer | 1 | EA |  | 4.28 | 4.28 | 21 | 21 |  |  | 25
| 21-21001-1120 | Isolation Value | 1 | EA |  | 53.72 | 53.72 | 124.5 | 124.5 |  |  | 178.22
Toilet
| 22-42136-1220 | Flush Value | 1 | EA |  | 13.95 | 13.95 | 420 | 420 |  |  | 434
| 05-05239-1040 | Anchor Bolts | 2 | EA |  | 14.48 | 28.95 | 6 | 12 |  |  | 41
| 22-42009 | Wall Mounted Toilet | 1 | EA |  | 349 | 349 | 125 | 125 |  |  | 474
| 22-42009-1540 | Wall Carrier | 1 | EA |  | 249 | 249 | 150 | 150 |  |  | 399
Domestic Water Heater
| 22-33001-1030 | Domestic Water Heater | 1 | EA |  | 180.82 | 180.82 | 210 | 210 |  |  | 391
| 22-21136-1000 | Expansion Tank | 1 | EA |  | 59.85 | 59.85 | 150 | 150 |  |  | 210
| Online | Heat Traps | 1 | EA |  | 12.98 | 12.98 | 25.5 | 25.5 |  |  | 38.48
| 23-09131-1000 | Pressure Gauge | 1 | EA |  | 12.74 | 12.74 | 78 | 78 |  |  | 91
| Online | Aquastat | 1 | EA |  | 159 | 159 | 43.5 | 43.5 |  |  | 202.5
| 23-09131-1000 | Gauge Cock | 1 | EA |  | 12.74 | 1.74 | 78 | 78 |  |  | 80
| 32-84004-8620 | Pressure/Temperature Relief Value | 1 | EA |  | 18.67 | 18.67 | 88.5 | 49.5 |  |  | 68.17
| 22-05236-9210 | Thermostatic mixing valve | 1 | EA |  | 107.86 | 107.86 | 49.5 | 49.5 |  |  | 157.36
| 22-05236-4010 | Ball Type Value | 7 | EA |  | 16.98 | 118.86 | 49.5 | 346.5 |  |  | 465.36
Water Service
| 22-05236-1040 | Gate Valve | 5 | EA |  | 11.98 | 59.9 | 61.88 | 309.38 |  |  | 369.28
| 22-11191-2020 | Backflow Preventer | 1 | EA |  | 195.46 | 195.46 | 124.5 | 124.5 |  |  | 319.96
| 33-12331-0090 | Water meter | 1 | EA |  | 11.98 | 11.98 | 124.5 | 124.5 |  |  | 136.48
| Online | Blow out Value | 1 | EA |  | 1.63 | 1.63 | 78 | 78 |  |  | 80
| 23-09131-1260 | Control Valve | 5 | EA |  | 6.64 | 33.2 | 78 | 390 |  |  | 423
| 23-09131-1000 | Pressure Gauge | 1 | EA |  | 12.74 | 12.74 | 78 | 78 |  |  | 91
| 22-06931-1040 | Wall Penetration 4 diameter | 1 | EA |  | 0 | 0 | 44.63 | 44.63 |  |  | 44.63
| 22-06931-1000 | Wall Penetration 2 diameter | 2 | EA |  | 0 | 0 | 29.63 | 59.25 |  |  | 59.25
Mop Sink
| 22-42164-3020 | Mop Sink | 1 | EA |  | 81 | 81 | 315 | 315 |  |  | 396
| 22-13168-2150 | P Trap | 2 | EA |  | 25.65 | 51.3 | 78 | 156 |  |  | 207
| 22-13168-2010 | Trap Adaptor | 2 | EA |  | 6.52 | 13.04 | 82.5 | 165 |  |  | 178
| 08-62101-6500 | 804 Adaptor | 2 | EA |  | 8 | 16 | 70.5 | 141 |  |  | 157
| 22-11161-6240 | Type L copper pipe | 10 | LF |  | 6.8 | 68 | 4.43 | 44.25 |  |  | 112.25
| 22-13168-2010 | 604 Adaptor | 2 | EA |  | 10 | 20 | 82.5 | 165 |  |  | 185
Expansion Joints
| Online | 1" | 3 | EA |  | 1.48 | 4.44 |  |  |  |  | 4.44
| Online | 1/2" | 6 | EA |  | 0.67 | 4.02 |  |  |  |  | 4.02
| Online | 1-1/2" | 4 | EA |  | 1.31 | 5.24 |  |  |  |  | 5.24
| Online | 2" | 13 | EA |  | 2.11 | 27.43 |  |  |  |  | 27.43
| Online | 3" | 4 | EA |  | 3.84 | 15.36 |  |  |  |  | 15.36
| Online | 4" | 7 | EA |  | 3.12 | 21.84 |  |  |  |  | 21.84
| Online | 1-1/4" | 5 | EA |  | 0.98 | 4.9 |  |  |  |  | 4.9
| Online | 3/4" | 10 | EA |  | 0.54 | 5.4 |  |  |  |  | 5.4
Mechinal Works
| 23 07 13 | 6dia combustion intake | 22 | LF |  | 1.46 | 32 | 4.3 | 4.3 |  |  | 36
| 23 07 13 | 8" dia Duck Pipes | 16 | LF |  | 1.06 | 16.95 | 5 | 5 |  |  | 90.82
| 23 33 13 | 8"*6" Duck Pipe | 28 | LF |  | 33 | 916 | 30 | 30 |  |  | 1766
| 23 33 13 .13 | 20"*20" Duck Pipe | 2 | EA |  | 237 | 474 | 51 | 51 |  |  | 576
| 23 33 13 .13 | 20"*16" Duck Pipe | 11 | LF |  | 286 | 3142 | 48 | 48 |  |  | 3665
| 23 33 13 .13 | 20"*14" Duck Pipe | 17 | LF |  | 286 | 4855 | 45 | 45 |  |  | 5624
| 23 33 13 .13 | 20"*12" Duck Pipe | 18 | LF |  | 286 | 5141 | 43 | 43 |  |  | 5912
| 23 33 13 .13 | 14"*12" Duct Pipe | 17 | LF |  | 162 | 2751 | 31 | 31 |  |  | 3277
| 23 33 13 .13 | 10"*6" Duct Pipe | 14 | LF |  | 129 | 1799 | 44.63 | 44.63 |  |  | 2424
| 23 33 13 .13 | 20"*20" Duct Pipe | 6 | LF |  | 273 | 1635 | 67 | 67 |  |  | 2035
| 23 33 13 .13 | 10"*8" Duct Pipe | 4 | LF |  | 278 | 1114 | 48 | 48 |  |  | 1304
Mechinal Enlarged Plan
| Online | 7/8" Sets RS and RL | 35 | LF |  |  | 62.48 | 2186.63 | 27.97 | 978.78 |  | 3165.4
| Online | 46"*54" Equipment Pad See Detail | 1 | EA |  |  | 13.09 | 13.09 | 5.95 | 5.95 |  | 19.04
| Online | EUH-1 | 1 | EA |  |  | 326.21 | 326.21 | 17.81 | 17.81 |  | 344.02
| Online | 16"*24" | 10 | LF |  |  | 231 | 2309 | 61 | 607 |  | 2916
| Online | Duck Transition | 1 | EA |  |  | 65 | 65.45 | 18 | 17.85 |  | 83.3
| Online | Floor Drain Seep | 1 | EA |  |  | 417 | 417 | 71 | 71.4 |  | 488
| Online | 19-1/2"*36-1/2" Return Air plenum Box | 2 | EA |  |  | 90 | 180.88 | 65 | 130.9 |  | 311.78
| Online | Duct Pipe | 11 | LF |  |  | 14 | 157 | 49 | 537 |  | 694
| Online | Duct Pipe..... | 8 | LF |  |  | 14 | 114 | 49 | 390 |  | 505
| Online | Pipe drop___ | 5 | EA |  |  | 476 | 2380 | 60 | 298 |  | 2678
| Online | 6" dia Intake & Exhaust Flues | 28 | LF |  |  | 10.45 | 293 | 4.62 | 129.28 |  | 422
| Online | 30"*30"-R2 /3000 CFM | 1 | EA |  |  | 524 | 524 | 30 | 30 |  | 553
| Online | Round Duct Raiser | 6 | EA |  |  | 68 | 407 | 41.06 | 246 |  | 653
| Online | Duct Jointer | 4 | EA |  |  | 14 | 57.12 | 6 | 23.8 |  | 80.92
| Online | W/Flex Connectro | 3 | EA |  |  | 13.47 | 40.41 | 7 | 21.42 |  | 61.83
| Online | 16"*24" Outside Air Main | 17 | LF |  |  | 231 | 3925 | 61 | 1032 |  | 4956
| Online | 20"*20" Supply Air | 1 | EA |  |  | 237 | 237 | 51 | 51 |  | 288
67429.4

## Mechanical Plans
Mechanical | [15 empty] | LF | W | H | Lbs
CSI Number | Reference number | Description | Quantity | Unit | Crew Code | Crew size | Material |  | Labour |  | Equipment |  | Total Cost | O & P | Total cost O & P
[7 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost
03 30 53.40 | DONE | ACCU Pad 6" (17SF) | 17 | SF | C14F |  | $2.94 | 49.98 | $1.96 | 33.32 | 0.01 | 0 | 83.3 | 12.495 | $95.80
03 30 53.40 | DONE | AHU Pad (33.15) | 33 | SF | C14F |  | 2.94 | 97.461 | 1.96 | 64.974 | 0.01 | 0.3315 | 162.7665 | 24.415 | 187.1815
23 62 13.10 | DONE | Air cooled condensing unit | 1 | EA | Q-5 |  | 3510 | 3510 | 3207 | 3207 | 0 | 0 | 6717 | 1007.55 | 7724.55
23 73 13.10 | 940 | Air Handling Unit -1 | 1 | EA | Q-6 |  | 43343 | 2510.11 | 2978 | 2107.95 | 0 | 0 | 4618.06 |  | 52092.63
22 11 13.74 | DONE | Combustion intake and exhaust flues (6"dia) | 35 | LF | Q-1 |  | 41.18 | 3006.14 | 46.08$ | 3,363.84$ | 0 | 0 | 6,369.98$ | 955.50$ | 7,325.48$
22 11 13.74 | DONE | Combustion intake and exhaust flues (8"dia) | 10 | LF | Q-2 |  | 83.45 | 834.5 | 58.26$ | 582.60$ | 0 | 0 | 1,417.10$ | 212.57$ | 1,629.67$
23 33 13.13 | DONE | Duct 10"x6" (12LF) | 24.99 | lb | Q-10 |  | 0.67 | 16.75 | 12.28 | 307 | 0 | 0 | 323.75 | 48.5625 | 372.3125 | 14.8973 | 10 | 6 | 31.026
23 33 13.13 | DONE | Ducts 10"x8" (3 LF | 7.03 | lb | Q-10 |  | 0.67 | 4.69 | 12.28 | 85.96 | 0 | 0 | 90.65 | 13.5975 | 104.2475 | 14.8311 | 10 | 8 | 34.7492
23 33 13.13 | DONE | Ducts 14"x12" (16 LF) | 47.38 | lb | Q-10 |  | 0.67 | 36.18 | 12.28 | 663.12 | 0 | 0 | 699.3 | 104.895 | 804.195 | 16.9731 | 14 | 12 | 57.4425
23 33 13.13 | DONE | Ducts (Main Air supply) 16"x24" (10 LF) | 57.27 | lb | Q-10 |  | 0.67 | 34.84 | 12.28 | 638.56 | 0 | 0 | 673.4 | 101.01 | 774.41 | 13.5213 | 16 | 24 | 70.4009
23 33 13.13 | DONE | Ducts 20"x12" (16 LF) | 66.65 | lb | Q-10 |  | 0.67 | 44.89 | 12.28 | 822.76 | 0 | 0 | 867.65 | 130.1475 | 997.7975 | 14.9718 | 20 | 12 | 62.3623
23 33 13.13 | DONE | Ducts 20"x14" (16 LF) | 66.39 | lb | Q-10 |  | 0.67 | 47.57 | 12.28 | 871.88 | 0 | 0 | 919.45 | 137.9175 | 1057.3675 | 15.9278 | 20 | 14 | 70.4912
23 33 13.13 | DONE | Ducts 20"x16" (10 LF) | 46.86 | lb | Q-10 |  | 0.67 | 31.49 | 12.28 | 577.16 | 0 | 0 | 608.65 | 91.2975 | 699.9475 | 14.937 | 20 | 16 | 69.9947
23 33 13.13 | DONE | Ducts 20"x20" (21 LF) | 130.17 | lb | Q-10 |  | 0.67 | 73.03 | 12.28 | 1338.52 | 0 | 0 | 1411.55 | 211.7325 | 1623.2825 | 12.4708 | 20 | 20 | 64.9313
23 33 13.13 | DONE | Ducts 8X6" (33 LF) | 83.83 | lb | Q-10 |  | 0.67 | 40.2 | 12.28 | 736.8 | 0 | 0 | 777 | 116.55 | 893.55 | 10.6594 | 8 | 6 | 19.425
23 37 13.10 | DONE | Air I/O E1 - 8"x6" | 4 | EA | 1 Shee |  | 220 | 880 | 64.16 | 256.64 | 0 | 0 | 1136.64 | 170.496 | 1307.136
23 37 13.10 | DONE | Air I/O S1 - 10"x8" | 4 | EA | 1 Shee |  | 223.22 | 892.88 | 68.74 | 274.96 | 0 | 0 | 1167.84 | 175.176 | 1343.016
23 37 13.10 | DONE | Air In/out (S1) - 18"x8" | 5 | EA | 1 Shee |  | 279.28 | 1396.4 | 93.48 | 467.4 | 0 | 0 | 1863.8 | 279.57 | 2143.37
23 83 33.10 | DONE | Electric unit heater - 1 | 1 | EA | 1 Ele |  | 593.96 | 593.96 | 247.46 | 247.46 | 0 | 0 | 841.42 | 126.213 | 967.633
23 83 33.10 | DONE | Electric unit heater - 2 | 1 | EA | 1 Ele |  | 593.96 | 593.96 | 247.46 | 247.46 | 0 | 0 | 841.42 | 126.213 | 967.633
23 83 33.10 | DONE | Electric unit heater - 3 | 1 | EA | 1 Ela |  | 593.96 | 593.96 | 247.46 | 247.46 | 0 | 0 | 841.42 | 126.213 | 967.633
23 34 23.10 | DONE | Exhaust Fan-1 | 1 | EA | Q-20 |  | 286.41 | 286.41 | 106.32 | 106.32 | 0 | 0 | 392.73 | 58.9095 | 451.6395
23 34 23.10 | DONE | Exhaust Fan - 2 | 1 | EA | Q-20 |  | 286.41 | 286.41 | 106.32 | 106.32 | 0 | 0 | 392.73 | 58.9095 | 451.6395
23 34 23.10 | DONE | Exhaust Fan - 3 | 1 | EA | Q-20 |  | 1732.71 | 1732.71 | 469 | 469 | 0 | 0 | 2201.71 | 330.2565 | 2531.9665
23 34 23.10 | DONE | Exhaust Fan - 4 | 1 | EA | Q-20 |  | 1732.71 | 1732.71 | 469 | 469 | 0 | 0 | 2201.71 | 330.2565 | 2531.9665
23 34 23.10 | DONE | Exhaust Fan - 5 | 1 | EA | Q-20 |  | 1712.71 | 1712.71 | 469 | 469 | 0 | 0 | 2181.71 | 327.2565 | 2508.9665
23 34 23.10 | DONE | Exhaust Fan - 6 | 1 | EA | Q-20 |  | 2061.46 | 2061.46 | 469.25 | 469.25 | 0 | 0 | 2530.71 | 379.6065 | 2910.3165
23 37 15.40 | DONE | Louver-1 (62x24") 10.33 | 10.33 | SF | 1 Shee |  | 61.06 | 630.7498 | 36.6 | 378.078 | 0 | 0 | 1008.8278 | 151.3242 | 1160.152
24 37 15.40 | DONE | Louver-2 (12x24") 2 | 2 | SF | 1 Shee |  | 61.06 | 122.12 | 36.6 | 73.2 | 0 | 0 | 195.32 | 29.298 | 224.618
25 37 15.40 | DONE | Louver-3 (48x36")12 | 12 | SF | 1 Shee |  | 61.06 | 732.72 | 36.6 | 439.2 | 0 | 0 | 1171.92 | 175.788 | 1347.708
26 37 15.40 | DONE | Louver-4 (48x36) | 12 | SF | 1 Shee |  | 61.06 | 732.72 | 36.6 | 439.2 | 0 | 0 | 1171.92 | 175.788 | 1347.708
Grainger | DONE | Automatic air damper for louver | 4 | EA | - |  | 705 | 2820 | 40.00$ | 160.00$ | 0 | 0 | 2,980.00$ | 447.00$ | 3,427.00$
23 37 23.10 | DONE | Gravity Ventilator hood (GV-1) | 1 | EA | Q-9 |  | 1791 | 1791 | 231$ | 231$ | 0 | 0 | 2,022$ | 303$ | 2,325$
grainger | DONE | 12" Roof Curb | 1 | EA | - |  | 277 | 277 | 0$ | 0$ | 0 | 0 | 277$ | 42$ | 319$
| DONE | 24x24 relief duct | 1 | EA |  |  | 1,600$ | 1,600$ | 295$ | 295$ | 0 | 0 | 1,895$ | 284$ | 2,179$
23 83 33.10 | DONE | EUH Line voltage Thermostat | 3 | EA | 1 Ele |  | 35$ | 104$ | 124$ | 371$ | 0 | 0 | 475$ | 71$ | 546$
| DONE | Flex Connector | 3 | EA | 1 Plu |  | 29$ | 86$ | 27.82$ | 83.46$ | 0 | 0 | 169.11$ | 25.37$ | 194.48$
|  | Return Air Plenum Box (19.5x36.5") | 6 | LF |  |  |  | 0$ |  | 0$ | 0 | 0 | 0$ | 0$ | 0$
23 83 33.10 | DONE | Electric baseboard -1 | 1 | EA | 1 ele |  | 54.05 | 54.05 | 123.73 | 123.73 | 0 | 0 | 177.78 | 26.667 | 204.447
23 83 33.10 | DONE | Electric baseboard -2 | 1 | EA | 1 ele |  | 41.54 | 41.54 | 123.73 | 123.73 | 0 | 0 | 165.27 | 24.7905 | 190.0605
23 83 33.10 | DONE | Electric baseboard -3 | 1 | EA | 1 ele |  | 41.54 | 41.54 | 123.73 | 123.73 | 0 | 0 | 165.27 | 24.7905 | 190.0605
PHP systems | DONE | Pipe support stand | 1 | EA | 1 plu |  | 20.4 | 20.4 | 0 | 0 | 0 | 0 | 20.4 | 3.06 | 23.46
33 63 13 | DONE | 3/4 condensate pipe | 1 | LF | 1 plu |  | 164.56 | 164.56 | 34.21 | 34.21 | 0 | 0 | 198.77 | 29.8155 | 228.5855
Home Depot | DONE | RS & RL (2 Sets) | 44 | LF | 1 plu |  | 8.07 | 355.08 | 34.21 | 1505.24 | 0 | 0 | 1860.32 | 279.048 | 2139.368
|  | Assumption(28 gauge metal is used for ductwork (Galavanized steel) | [10 empty] | 56287.094 | 8443.0641 | 64730.1585

## Electrical Plans
Mechanical | [16 empty] | Percentage of Total Cost
CSI Number | Reference number | Description | Quantity | Unit | Crew Code | Crew size | Material |  | Labour |  | Equipment |  | Total Cost | O & P | Total cost O & P | $/SF
[7 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost
23 83 33.10 | 5600 | Electric Unit Heater | 3 | EA | 1 Elec |  | 405 | 1445.85 | 126 | 449.82 |  |  | 1895.67 | 357 | 631 | 2252.67
|  | Electrical connection schedule | 4 | EA |  |  | 97.02 | 461.8152 |  | 0 |  |  | 461.8152 | 0 | 97.02 | 461.8152
23 34 16 | 8520 | Exhaust Fan | 6 | EA | Q-20 |  | 1350 | 9639 | 91.5 | 653.31 |  |  | 10292.31 | 1131.69 | 1600 | 11424
26 24 16.20 | 200 | Ground Fault Circuit Interruptor | 35 | EA | 1 Elec |  | 39 | 1624.35 | 50.5 | 2103.325 |  |  | 3727.675 | 1166.2 | 117.5 | 4893.875
33 75 53.13 | 3000 | Heavy Duty Non Infused Disconnect Switch | 2 | EA | 2 Elec |  | 4025 | 9579.5 | 805 | 1915.9 |  |  | 11495.4 | 1892.1 | 5625 | 13387.5
26 05 19.90 |  | Rated 600V, NFPA 70 Type THHN stranded#14 | 13.62 | CLF | 1 Elec |  | 13.5 | 218.8053 | 41.5 | 672.6237 |  |  | 891.429 | 348.4677 | 76.5 | 1239.8967
RS Means Data |  | Air Cooled Condensing Unit | 1 | EA | Q5 |  | 1125 | 1338.75 | 310 | 368.9 |  |  | 1707.65 | 303.45 | 1690 | 2011.1
23 09 53.10 | 606 | Carbon Monoxide Detector | 1 | EA | 1Elec |  | 41.5 | 49.385 | 25 | 29.75 |  |  | 79.135 | 20.23 | 83.5 | 99.365
23 09 53.10 | 606 | Nitrogen Monoxide Detector | 1 | EA | 1 Elec |  | 8 | 9.52 | 50.5 | 60.095 |  |  | 69.615 | 29.75 | 83.5 | 99.365
28 46 20.50 | 5800 | Combination Horn | 3 | EA | 1 Elec |  |  | 0 | 25 | 89.25 |  |  | 89.25 | 44.625 | 37.5 | 133.875
|  | Duct Band Schedule | 1 | EA |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
26 24 13 | 300 | Switch Board - 120/208volts | 3 | EA | 2 Elec |  | 4975 | 17760.75 | 1075 | 3837.75 |  |  | 21598.5 | 3659.25 | 7075 | 25257.75
22 46 20 | 7800 | Fire Alarm Annunciator Panel | 1 | EA | 1 Elec |  | 345 | 410.55 | 299 | 355.81 |  |  | 766.36 | 215.39 | 825 | 981.75
22 46 20 | 2200 | Fire Alarm Pull Station | 2 | EA | 1 Elec |  | 94.5 | 224.91 | 67.5 | 160.65 |  |  | 385.56 | 99.96 | 204 | 485.52
22 46 20 | 4600 | Fire Alarm Bell | 5 | EA | 1 Elec |  | 56.5 | 336.175 | 67.5 | 401.625 |  |  | 737.8 | 232.05 | 163 | 969.85
26 05 33 | 100 | Junction Pull Box | 8 | EA | 1 Elec |  | 12.6 | 119.952 | 67.5 | 642.6 |  |  | 762.552 | 322.728 | 114 | 1085.28
|  | Mechanical Equipment Connection Schedule | 9 | EA |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
26 24 16.30 | 500 | Panel 38 | 8 | EA | 2 Elec |  | 1225 | 11662 | 1125 | 10710 |  |  | 22372 | 6188 | 3000 | 28560
28 46 20.50 | 5600 | Horn Strobe | 3 | EA |  |  | 106.26 | 379.3482 | 144.43 | 515.6151 |  |  | 894.9633 | 287.45 | 11821.42 | 42202.4694
26 05 90.10 | 4500 | Weather Proof in Use Bubble Cover | 4 | EA | 1 Elec |  | 5.25 | 24.99 | 10.05 | 47.838 |  |  | 72.828 | 32.13 | 22.05 | 104.958
RS Means Data |  | Air Handling Unit | 1 | EA | Q5 |  | 3325 | 3956.75 | 650 | 773.5 |  |  | 4730.25 | 767.55 | 4620 | 5497.8
28 46 11.27 | 5400 | Duct Mounted Smoke Detector Supply Side | 1 | EA | 1 Elec |  | 315 | 374.85 | 126 | 149.94 |  |  | 524.79 | 107.1 | 531 | 631.89
|  | Electrical connection as defined in mechanical equipment connection schedule | 4 | EA |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
26 24 16 |  | Fire Alarm Control Panel | 4 | EA | 2 Elec |  | 390 | 1856.4 | 400 | 1904 |  |  | 3760.4 | 1094.8 | 1020 | 4855.2
22 46 20 | 4200 | Fire Alarm Flow Switch | 1 | EA | 1 Elec |  | 227 | 270.13 | 67.5 | 80.325 |  |  | 350.455 | 66.045 | 350 | 416.5
22 46 20 | 4200 | Fire Alarm Tamper Switch | 1 | EA | 1 Elec |  | 227 | 270.13 | 67.5 | 80.325 |  |  | 350.455 | 66.045 | 350 | 416.5
26 51 13 | 3020 | 4 inch LED Strip | 15 | EA | 1 Elec |  | 455 | 8121.75 | 94.5 | 1686.825 |  |  | 9808.575 | 1615.425 | 640 | 11424
26 51 13 | 3030 | 8 Inch Led Strip | 6 | EA | 2 Elec |  | 380 | 2713.2 | 122 | 871.08 |  |  | 3584.28 | 664.02 | 595 | 4248.3
26 09 23.10 | 400 | Analog Power Pack 20 AMP | 3 | EA |  |  | 38.5 | 137.445 | 40 | 142.8 |  |  | 280.245 | 82.11 | 101.5 | 362.355
|  | Astronomical Time Clock | 2 | EA |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
26 09 23.10 | 200 | Dual Technology Vacancy Sensor | 4 | EA | 1 Elec |  | 185 | 880.6 | 62 | 295.12 |  |  | 1175.72 | 228.48 | 295 | 1404.2
26 52 13 | 200 | Exit Sign | 2 | EA | 1 Elec |  | 47.5 | 113.05 | 67.5 | 160.65 |  |  | 273.7 | 88.06 | 152 | 361.76
26 05 90.10 | 2290 | Lower Switch | 2 | EA | 1 STPI |  | 19.45 | 46.291 | 108 | 257.04 |  |  | 303.331 | 133.399 | 183.5 | 436.73
26 09 25 |  | Occupancy Sensor Switch | 2 | EA | 1 Elec |  | 116 | 276.08 | 57.5 | 136.85 |  |  | 412.93 | 94.01 | 213 | 506.94
26 56 23.10 | 1278 | Wall Mount Emergency Board Unit | 8 | EA | 1 Elec |  | 184 | 1751.68 | 101 | 961.52 |  |  | 2713.2 | -2713.2 |  | 0
26 56 23.10 | 1278 | Wall Pack | 7 | EA | 2 Elec |  | 178.19 | 1484.3227 | 240.84 | 2006.1972 |  |  | 3490.5199 | 1112.6381 | 552.6 | 4603.158
26 52 13 | 900 | Wall Mount Emergency Light Fixture | 2 | EA | 1 Elec |  | 237 | 564.06 | 54 | 128.52 |  |  | 692.58 | 1121.218 | 762.1 | 1813.798
26 12 19.10 | 300 | Transformer Pad Mounted-500KvA | 1 | EA | R3 |  | 66304 | 66304 | 6021 | 6021 |  |  | 72325 | 10146.04 | 82471.04 | 82471.04
26 22 13.10 | 4700 | Transformer Dry type 500KvA | 1 | EA | R3 |  | 19580.4 | 19580.4 | 5352 | 6368.88 |  |  | 25949.28 | 9682.3664 | 29942.56 | 35631.6464

## Fire Plans
CSI Number | Reference number | Description | Quantity | Unit | Crew Code | Crew size | Material |  | Labour |  | Equipment |  | Total Cost | O & P | Total cost O & P | $/SF | Percentage of Total Cost
[7 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost | Unit Cost | Total Cost
Sprinkler
21 13 13 |  | k5.6 UPRIGHT SPRINKLER | 50 | EA |  |  | $26.18 | $1,309.00 | $46.89 | $2,344.30 |  |  | $3,653.30
21 13 13 |  | k11.2 UPRIGHT SPRINKLER | 4 | EA |  |  | $22.97 | $91.87 | $46.89 | $187.54 |  |  | $279.41
21 13 13 |  | k5.6 PENDENT SPRINKLER | 3 | EA |  |  | $26.18 | $78.54 | $46.89 | $140.66 |  |  | $219.20
21 13 13 |  | WEATHERPROOF ELECTRIC ALARM BELL | 1 | EA |  |  | $17.85 | $17.85 | $37.00 | $37.00 |  |  | $54.85
21 13 13 |  | FIRE DEPARTMENT CONNECTION | 1 | EA |  |  | $214.20 | $214.20 | $221.99 | $221.99 |  |  | $436.19
21 11 19 |  | Test Header | 1 | EA |  |  | $478.12 | $478.12 | $82.11 | $82.11 |  |  | $560.23
|  | Head Guard | 2 | EA |  |  | $10.12 | $20.23 |  |  |  |  | $20.23
|  | Auxiliary drain | 1 | EA |  |  | $202.30 | $202.30 |  |  |  |  | $202.30
21 13 26 |  | Aumatic Air Vent | 26 | EA |  |  | $90.44 | $2,351.44 |  |  |  |  | $2,351.44
Water Service Entrance Equipment
|  | Butterfly Valve | 4 | EA |  |  | $138.04 | $552.16 |  |  |  |  | $552.16
28-11162-8100 |  | 6in Cap | 1 | EA |  |  | $14.28 | $14.28 | $9.19 | $9.19 |  |  | $23.47
28-31001-4320 |  | Water Flow Switch | 1 | EA |  |  | $81.99 | $81.99 | $192.78 | $192.78 |  |  | $274.77
23-09131-1000 |  | Pressure Gauge | 2 | EA |  |  | $21.42 | $42.84 | $52.36 | $104.72 |  |  | $147.56
21-13001-0220 |  | Check Valve 4in | 1 | EA |  |  | $154.70 | $154.70 | $283.22 | $283.22 |  |  | $437.92
21-13001-0240 |  | Check Valve 6in | 2 | EA |  |  | $328.44 | $656.88 | $411.74 | $823.48 |  |  | $1,480.36
22-11191-2020 |  | Backflow Preventor | 4 | EA |  |  | $198.73 | $794.92 | $642.60 | $2,570.40 |  |  | $3,365.32
FIRE PROTECTION PIPE
21 12 19 |  | 6 inch FP | 175 | LF |  |  | $18.65 | $3,263.28 | $82.11 | $14,369.25 |  |  | $17,632.53
21 12 19 |  | 2.5 inch FP | 397 | LF |  |  | $6.90 | $2,740.09 | $32.73 | $12,991.83 |  |  | $15,731.92
21 12 19 |  | 4 inch FP | 101 | LF |  |  | $3.33 | $336.53 | $41.06 | $4,146.56 |  |  | $4,483.09
21 12 19 |  | 1.5 inch FP | 68 | LF |  |  | $8.93 | $606.90 | $19.64 | $1,335.18 |  |  | $1,942.08
21 12 19 |  | 1.25 inch FP | 5 | LF |  |  | $5.00 | $24.99 | $16.36 | $81.81 |  |  | $106.80
21 12 19 |  | FM 1.5 inch FP | 38 | LF |  |  | $8.81 | $334.63 | $335.58 | $12,752.04 |  |  | $13,086.67
21 12 19 |  | FM 4 inch FP | 39 | LF |  |  | $3.25 | $126.70 | $126.14 | $4,919.46 |  |  | $5,046.16
21 12 19 |  | FM 6 inch FP | 31 | LF |  |  | $3.57 | $110.67 | $107.10 | $3,320.10 |  |  | $3,430.77
[12 empty] | TOTAL | $75,518.72